## wiring terminal strips
|  | Wall 1 | Wall 2 |  | Wall 3 | Wall 4 |  | Wall 5 |  | Wall 6 | Wall 7 |  | Wall 8 | Wall 9
1 | RH | Wall 1 U-ORH | Wall 2U-ORH | 1 | Wall 3U-ORH | Wall 4U-ORH | 1 | Wall 5U-ORH | 1 | Wall 6U-ORH | Wall 7U-ORH | 1 | Wall 8U-ORH | Wall 9U-ORH
2 | RH | Wall 1 U-IRH | Wall 2U-IRH | 2 | Wall 3U-IRH | Wall 4U-IRH | 2 | Wall 5U-IRH | 2 | Wall 6U-IRH | Wall 7U-IRH | 2 | Wall 8U-IRH | Wall 9U-IRH
3 | RH | Wall 1 M-RH | Wall 2M-RH | 3 | Wall 3M-RH | Wall 4M-RH | 3 | Wall 5U-TRH | 3 | Wall 6U-TRH | Wall 7U-TRH | 3 | Wall 8M-RH | Wall 9M-RH
4 | RH |  | ROOM-RH1 | 4 | ROOM-RH2 |  | 4 | Wall 5M-RH | 4 | Wall 6M-RH | Wall 7M-RH | 4
5 | T | Wall 1 U-MCTEMP | Wall 2U-MCTEMP | 5 | Wall 3U-MCTEMP | Wall 4U-MCTEMP | 5 | Wall 5U-MCTEMP | 5 | Wall 6U-MCTEMP | Wall 7U-MCTEMP | 5 | Wall 8U-MCTEMP | Wall 9U-MCTEMP
6 | T | Wall 1 M-MCTEMP | Wall 2M-MCTEMP | 6 | Wall 3M-MCTEMP | Wall 4M-MCTEMP | 6 | Wall 5M-MCTEMP | 6 | Wall 6M-MCTEMP | Wall 7M-MCTEMP | 6 | Wall 8M-MCTEMP | Wall 9M-MCTEMP
7 | T | Wall 1 B-MCTEMP | Wall 2B-MCTEMP | 7 | Wall 3B-MCTEMP | Wall 4B-MCTEMP | 7 | Wall 5B-MCTEMP | 7 | Wall 6B-MCTEMP | Wall 7B-MCTEMP | 7 | Wall 8B-MCTEMP | Wall 9B-MCTEMP
8 | T |  |  | 8 |  |  | 8 |  | 8 |  |  | 8
9 | T |  |  | 9 |  |  | 9 |  | 9 |  |  | 9
10 | T | Wall 1 M-OTEMP | Wall 2M-OTEMP | 10 | Wall 3M-OTEMP | Wall 4M-OTEMP | 10 | Wall 5M-OTEMP | 10 | Wall 6M-OTEMP | Wall 7M-OTEMP | 10 | Wall 8M-OTEMP | Wall 9M-OTEMP
11 | T | Wall 1 HFSTEMP | Wall 2HFSTEMP | 11 | Wall 3HFSTEMP | Wall 4HFSTEMP | 11 | Wall 5HFSTEMP | 11 | Wall 6HFSTEMP | Wall 7HFSTEMP | 11 | Wall 8HFSTEMP | Wall 9HFSTEMP
12 | T |  |  | 12 |  |  | 12 |  | 12 |  |  | 12
13 | T |  |  | 13 |  |  | 13 |  | 13 |  |  | 13
14 | T |  |  | 14 |  |  | 14 |  | 14 |  |  | 14
15 | T | Wall 1 U-ORHTEMP | Wall 2U-ORHTEMP | 15 | Wall 3U-ORHTEMP | Wall 4U-ORHTEMP | 15 | Wall 5U-ORHTEMP | 15 | Wall 6U-ORHTEMP | Wall 7U-ORHTEMP | 15 | Wall 8U-ORHTEMP | Wall 9U-ORHTEMP
16 | T | Wall 1 U-IRHTEMP | Wall 2U-IRHTEMP | 16 | Wall 3U-IRHTEMP | Wall 4U-IRHTEMP | 16 | Wall 5U-IRHTEMP | 16 | Wall 6U-IRHTEMP | Wall 7U-IRHTEMP | 16 | Wall 8U-IRHTEMP | Wall 9U-IRHTEMP
17 | T | Wall 1 M-RHTEMP | Wall 2M-RHTEMP | 17 | Wall 3M-RHTEMP | Wall 4M-RHTEMP | 17 | Wall 5U-TRHTEMP | 17 | Wall 6U-TRHTEMP | Wall 7U-TRHTEMP | 17 | Wall 8M-RHTEMP | Wall 9M-RHTEMP
18 | T |  | ROOM-RH1TEMP | 18 | ROOM-RH2TEMP |  | 18 | Wall 5M-RHTEMP | 18 | Wall 6M-RHTEMP | Wall 7M-RHTEMP | 18
19 | T |  |  | 19 |  |  | 19 |  | 19 |  |  | 19
20 | T |  |  | 20 |  |  | 20 |  | 20 |  |  | 20
21 | MC | Wall 1 U-MC | Wall 2U-MC | 21 | Wall 3U-MC | Wall 4U-MC | 21 | Wall 5U-MC | 21 | Wall 6U-MC | Wall 7U-MC | 21 | Wall 8U-MC | Wall 9U-MC
22 | MC | Wall 1 M-MC | Wall 2M-MC | 22 | Wall 3M-MC | Wall 4M-MC | 22 | Wall 5M-MC | 22 | Wall 6M-MC | Wall 7M-MC | 22 | Wall 8M-MC | Wall 9M-MC
23 | MC | Wall 1 B-MC | Wall 2B-MC | 23 | Wall 3B-MC | Wall 4B-MC | 23 | Wall 5B-MC | 23 | Wall 6B-MC | Wall 7B-MC | 23 | Wall 8B-MC | Wall 9B-MC
24 | MC |  |  | 24 |  |  | 24 |  | 24 |  |  | 24
HFS
|  | RH 1- 4 | o/wh |  | MC 21-23 | red/blk |  | TEMP 5-20 | ble
|  | 5V | o/wh |  | 12V | red |  | TV | Bl/wh
|  | G | Gr

## terminal strip to MUX
|  |  | 1,2 |  | Wall 1 | Wall 2 |  | 3,4 | 5,6 |  | Wall 3 | Wall 4 |  | 7,8 | 9,10 |  | Wall 5 | 11,12 |  | Wall 6 | Wall 7 |  | 13,14 | 15,16 |  | Wall 8 | Wall 9 |  | 17,18
Mux A | 1 | RH | wbl | A1H | Wall 1 U-ORH | Wall 2U-ORH | A4H | wbl | wbl | A6H | Wall 3U-ORH | Wall 4U-ORH | A8L | wbl | wbl | A10L | Wall 5U-ORH | wbl | A13H | Wall 6U-ORH | Wall 7U-ORH | A16H | wbl | wbl | A18L | Wall 8U-ORH | Wall 9U-ORH |  | A20L
| 2 | RH | bl | A2H | Wall 1 U-IRH | Wall 2U-IRH | A4L | bl | bl | A6L | Wall 3U-IRH | Wall 4U-IRH | A9H | bl | bl | A11H | Wall 5U-IRH | bl | A14H | Wall 6U-IRH | Wall 7U-IRH | A16L | bl | bl | A19H | Wall 8U-IRH | Wall 9U-IRH |  | A21H
| 3 | RH | wbr | A2L | Wall 1 M-RH | Wall 2M-RH | A5H | wbr | wbr | A7H | Wall 3M-RH | Wall 4M-RH | A10H | wbr | wbr | A12H | Wall 5U-TRH | wbr | A14L | Wall 6U-TRH | Wall 7U-TRH | A17H | wbr | wbr | A20H | Wall 8M-RH | Wall 9M-RH |  | A22H
| 4 | RH | br | A3H | ROOM-RH1 |  |  |  | br | A8H | ROOM-RH2 |  |  |  | br | A12L | Wall 5M-RH | br | A15H | Wall 6M-RH | Wall 7M-RH | A18H | br
Mux C | 5 | T | wgreen | C1H | Wall 1 U-MCTEMP | Wall 2U-MCTEMP | C2L | wgreen | wgreen | C4H | Wall 3U-MCTEMP | Wall 4U-MCTEMP | C5L | wgreen | wgreen | C7H | Wall 5U-MCTEMP | wgreen | C8L | Wall 6U-MCTEMP | Wall 7U-MCTEMP | C10H | wgreen | wgreen | C11L | Wall 8U-MCTEMP | Wall 9U-MCTEMP | C13H | wgreen | Wire all MCTEMPS in order then start into TEMPS
| 6 | T | green | C1L | Wall 1 M-MCTEMP | Wall 2M-MCTEMP | C3H | green | green | C4L | Wall 3M-MCTEMP | Wall 4M-MCTEMP | C6H | green | green | C7L | Wall 5M-MCTEMP | green | C9H | Wall 6M-MCTEMP | Wall 7M-MCTEMP | C10L | green | green | C12H | Wall 8M-MCTEMP | Wall 9M-MCTEMP | C13L | green
| 7 | T | wgrey | C2H | Wall 1 B-MCTEMP | Wall 2B-MCTEMP | C3L | w/grey | w/grey | C5H | Wall 3B-MCTEMP | Wall 4B-MCTEMP | C6L | wgrey | wgrey | C8H | Wall 5B-MCTEMP | wgrey | C9L | Wall 6B-MCTEMP | Wall 7B-MCTEMP | C11H | wgrey | wgrey | C12L | Wall 8B-MCTEMP | Wall 9B-MCTEMP | C14H | wgrey
| 8 | T
| 9 | T
| 10 | T | o | C14L | Wall 1 M-OTEMP | Wall 2M-OTEMP | C15L | o | o | C16L | Wall 3M-OTEMP | Wall 4M-OTEMP | C17L | o | o | C18L | Wall 5M-OTEMP | o | C19L | Wall 6M-OTEMP | Wall 7M-OTEMP | C20L | o | o | C21L | Wall 8M-OTEMP | Wall 9M-OTEMP | C22L | o
| 11 | T | r bl | C15H | Wall 1 HFSTEMP | Wall 2HFSTEMP | C16H | r bl | r bl | C17H | Wall 3HFSTEMP | Wall 4HFSTEMP | C18H | r bl | r bl | C19H | Wall 5HFSTEMP | r bl | C20H | Wall 6HFSTEMP | Wall 7HFSTEMP | C21H | r bl | r bl | C22H | Wall 8HFSTEMP | Wall 9HFSTEMP | C23H | r bl
| 12 | T | [15 empty] | bl r
Mux Z | 13 | T | [15 empty] | wbl
| 14 | T
| 15 | T | wbr | Z1H | Wall 1 U-ORHTEMP | Wall 2U-ORHTEMP | Z3H | wbr | wbr | Z4L | Wall 3U-ORHTEMP | Wall 4U-ORHTEMP | Z6L | wbr | wbr | Z8H | Wall 5U-ORHTEMP | wbr | Z10H | Wall 6U-ORHTEMP | Wall 7U-ORHTEMP | Z12H | wbr | wbr | Z14H | Wall 8U-ORHTEMP | Wall 9U-ORHTEMP | Z15L | wbr
| 16 | T | br | Z1L | Wall 1 U-IRHTEMP | Wall 2U-IRHTEMP | Z3L | br | br | Z5H | Wall 3U-IRHTEMP | Wall 4U-IRHTEMP | Z7H | br | br | Z8L | Wall 5U-IRHTEMP | br | Z10L | Wall 6U-IRHTEMP | Wall 7U-IRHTEMP | Z12L | br | br | Z14L | Wall 8U-IRHTEMP | Wall 9U-IRHTEMP | Z16H | br
| 17 | T | wgreen | Z2H | Wall 1 M-RHTEMP | Wall 2M-RHTEMP | Z4H | wgreen | wgreen | Z5L | Wall 3M-RHTEMP | Wall 4M-RHTEMP | Z7L | wgreen | wgreen | Z9H | Wall 5U-TRHTEMP | wgreen | Z11H | Wall 6U-TRHTEMP | Wall 7U-TRHTEMP | Z13H | wgreen | wgreen | Z15H | Wall 8M-RHTEMP | Wall 9M-RHTEMP | Z16L | wgreen
| 18 | T | green | Z2L | ROOM-RH1TEMP |  |  |  | green | Z6H | ROOM-RH1TEMP |  |  |  | green | Z9L | Wall 5M-RHTEMP | green | Z11L | Wall 6M-RHTEMP | Wall 7M-RHTEMP | Z13L | green
| 19 | T
| 20 | T
Mux B | 21 | MC | wo | B1H | Wall 1 U-MC | Wall 2U-MC | B4H | wo | wo | B7H | Wall 3U-MC | Wall 4U-MC | B10H | wo | wo | B13H | Wall 5U-MC | wo | B16H | Wall 6U-MC | Wall 7U-MC | B19H | wo | wo | B22H | Wall 8U-MC | Wall 9U-MC | B25H | wo
| 22 | MC | o | B2H | Wall 1 M-MC | Wall 2M-MC | B5H | o | o | B8H | Wall 3M-MC | Wall 4M-MC | B11H | o | o | B14H | Wall 5M-MC | o | B17H | Wall 6M-MC | Wall 7M-MC | B20H | o | o | B23H | Wall 8M-MC | Wall 9M-MC | B26H | o
| 23 | MC | r bl | B3H | Wall 1 B-MC | Wall 2B-MC | B6H | red/blue | red/blue | B9H | Wall 3B-MC | Wall 4B-MC | B12H | r bl | r bl | B15H | Wall 5B-MC | r bl | B18H | Wall 6B-MC | Wall 7B-MC | B21H | r bl | r bl | B24H | Wall 8B-MC | Wall 9B-MC | B27H | r bl
| 24 | MC
B1L | MTL_pa |  | bl r | B3L | wall1_pa | wall2_pa | B5L | bl r | bl r | B7L | wall2_pa | wall3_pa | B9L | bl r | bl r | B11L | wall5_pa | bl r | B13L | wall6_pa | wall7_pa | B15L | bl r | bl r | B17L | wall8_pa | wall9_pa | B19L | bl r

## naming
|  |  |  | Wall 1 | Wall 2 |  |  | Wall 3 | Wall 4 |  |  | Wall 5 |  | Wall 6 | Wall 7 |  |  | Wall 8 | Wall 9
Mux A | 1 | RH | RH1 | Wall 1 U-ORH | Wall 2U-ORH | RH5 | RH8 | Wall 3U-ORH | Wall 4U-ORH | RH12 | RH15 | Wall 5U-ORH | RH19 | Wall 6U-ORH | Wall 7U-ORH | RH23
| 2 | RH | RH2 | Wall 1 U-IRH | Wall 2U-IRH | RH6 | RH9 | Wall 3U-IRH | Wall 4U-IRH | RH13 | RH16 | Wall 5U-IRH | RH20 | Wall 6U-IRH | Wall 7U-IRH | RH24
| 3 | RH | RH3 | Wall 1 M-RH | Wall 2M-RH | RH7 | RH10 | Wall 3M-RH | Wall 4M-RH | RH14 | RH17 | Wall 5U-TRH | RH21 | Wall 6U-TRH | Wall 7U-TRH | RH25
| 4 | RH | RH4 | ROOM-RH1 |  |  | RH11 | ROOM-RH2 |  |  | RH18 | Wall 5M-RH | RH22 | Wall 6M-RH | Wall 7M-RH | RH26
Mux C | 5 | T | MCTEMP1 | Wall 1 U-MCTEMP | Wall 2U-MCTEMP | MCTEMP4 | MCTEMP7 | Wall 3U-MCTEMP | Wall 4U-MCTEMP | MCTEMP10 | MCTEMP13 | Wall 5U-MCTEMP | MCTEMP16 | Wall 6U-MCTEMP | Wall 7U-MCTEMP | MCTEMP19 | MCTEMP22 | Wall 8U-MCTEMP | Wall 9U-MCTEMP | MCTEMP25 | Wire all MCTEMPS in order then start into TEMPS
| 6 | T | MCTEMP2 | Wall 1 M-MCTEMP | Wall 2M-MCTEMP | MCTEMP5 | MCTEMP8 | Wall 3M-MCTEMP | Wall 4M-MCTEMP | MCTEMP11 | MCTEMP14 | Wall 5M-MCTEMP | MCTEMP17 | Wall 6M-MCTEMP | Wall 7M-MCTEMP | MCTEMP20 | MCTEMP23 | Wall 8M-MCTEMP | Wall 9M-MCTEMP | MCTEMP26
| 7 | T | MCTEMP3 | Wall 1 B-MCTEMP | Wall 2B-MCTEMP | MCTEMP6 | MCTEMP9 | Wall 3B-MCTEMP | Wall 4B-MCTEMP | MCTEMP12 | MCTEMP15 | Wall 5B-MCTEMP | MCTEMP18 | Wall 6B-MCTEMP | Wall 7B-MCTEMP | MCTEMP21 | MCTEMP24 | Wall 8B-MCTEMP | Wall 9B-MCTEMP | MCTEMP27
| 8 | T
| 9 | T
| 10 | T | TEMP1 | Wall 1 M-OTEMP | Wall 2M-OTEMP | TEMP3 | TEMP5 | Wall 3M-OTEMP | Wall 4M-OTEMP | TEMP7 | TEMP9 | Wall 5M-OTEMP | TEMP11 | Wall 6M-OTEMP | Wall 7M-OTEMP | TEMP13 | TEMP15 | Wall 8M-OTEMP | Wall 9M-OTEMP | TEMP17
| 11 | T | TEMP2 | Wall 1 HFSTEMP | Wall 2HFSTEMP | TEMP4 | TEMP6 | Wall 3HFSTEMP | Wall 4HFSTEMP | TEMP8 | TEMP10 | Wall 5HFSTEMP | TEMP12 | Wall 6HFSTEMP | Wall 7HFSTEMP | TEMP14 | TEMP16 | Wall 8HFSTEMP | Wall 9HFSTEMP | TEMP18
| 12 | T
Mux Z | 13 | T
| 14 | T
| 15 | T | RHTEMP1 | Wall 1 U-ORHTEMP | Wall 2U-ORHTEMP | RHTEMP5 | RHTEMP8 | Wall 3U-ORHTEMP | Wall 4U-ORHTEMP | RHTEMP12 | RHTEMP15 | Wall 5U-ORHTEMP | RHTEMP19 | Wall 6U-ORHTEMP | Wall 7U-ORHTEMP | RHTEMP23 | RHTEMP27 | Wall 8U-ORHTEMP | Wall 9U-ORHTEMP | RHTEMP30
| 16 | T | RHTEMP2 | Wall 1 U-IRHTEMP | Wall 2U-IRHTEMP | RHTEMP6 | RHTEMP9 | Wall 3U-IRHTEMP | Wall 4U-IRHTEMP | RHTEMP13 | RHTEMP16 | Wall 5U-IRHTEMP | RHTEMP20 | Wall 6U-IRHTEMP | Wall 7U-IRHTEMP | RHTEMP24 | RHTEMP28 | Wall 8U-IRHTEMP | Wall 9U-IRHTEMP | RHTEMP31
| 17 | T | RHTEMP3 | Wall 1 M-RHTEMP | Wall 2M-RHTEMP | RHTEMP7 | RHTEMP10 | Wall 3M-RHTEMP | Wall 4M-RHTEMP | RHTEMP14 | RHTEMP17 | Wall 5U-TRHTEMP | RHTEMP21 | Wall 6U-TRHTEMP | Wall 7U-TRHTEMP | RHTEMP25 | RHTEMP29 | Wall 8M-RHTEMP | Wall 9M-RHTEMP | RHTEMP32
| 18 | T | RHTEMP4 | ROOM-RH1TEMP |  |  | RHTEMP11 | ROOM-RH1TEMP |  |  | RHTEMP18 | Wall 5M-RHTEMP | RHTEMP22 | Wall 6M-RHTEMP | Wall 7M-RHTEMP | RHTEMP26
| 19 | T
| 20 | T
Mux B | 21 | MC | MC1 | Wall 1 U-MC | Wall 2U-MC | MC4 | MC7 | Wall 3U-MC | Wall 4U-MC | MC10 | MC13 | Wall 5U-MC | MC16 | Wall 6U-MC | Wall 7U-MC | MC19 | MC22 | Wall 8U-MC | Wall 9U-MC | MC25
| 22 | MC | MC2 | Wall 1 M-MC | Wall 2M-MC | MC5 | MC8 | Wall 3M-MC | Wall 4M-MC | MC11 | MC14 | Wall 5M-MC | MC17 | Wall 6M-MC | Wall 7M-MC | MC20 | MC23 | Wall 8M-MC | Wall 9M-MC | MC26
| 23 | MC | MC3 | Wall 1 B-MC | Wall 2B-MC | MC6 | MC9 | Wall 3B-MC | Wall 4B-MC | MC12 | MC15 | Wall 5B-MC | MC18 | Wall 6B-MC | Wall 7B-MC | MC21 | MC24 | Wall 8B-MC | Wall 9B-MC | MC27
| 24 | MC

## Sheet1
RH1 | Wall 1 U-ORH | MCTEMP1 | Wall 1 U-MCTEMP | RHTEMP1 | Wall 1 U-ORHTEMP | MC1 | Wall 1 U-MC
RH2 | Wall 1 U-IRH | MCTEMP2 | Wall 1 M-MCTEMP | RHTEMP2 | Wall 1 U-IRHTEMP | MC2 | Wall 1 M-MC
RH3 | Wall 1 M-RH | MCTEMP3 | Wall 1 B-MCTEMP | RHTEMP3 | Wall 1 M-RHTEMP | MC3 | Wall 1 B-MC
RH4 | ROOM-RH1 | MCTEMP4 | Wall 2U-MCTEMP | RHTEMP4 | ROOM-RH1TEMP | MC4 | Wall 2U-MC
RH5 | Wall 2U-ORH | MCTEMP5 | Wall 2M-MCTEMP | RHTEMP5 | Wall 2U-ORHTEMP | MC5 | Wall 2M-MC
RH6 | Wall 2U-IRH | MCTEMP6 | Wall 2B-MCTEMP | RHTEMP6 | Wall 2U-IRHTEMP | MC6 | Wall 2B-MC
RH7 | Wall 2M-RH | MCTEMP7 | Wall 3U-MCTEMP | RHTEMP7 | Wall 2M-RHTEMP | MC7 | Wall 3U-MC
RH8 | Wall 3U-ORH | MCTEMP8 | Wall 3M-MCTEMP | RHTEMP8 | Wall 3U-ORHTEMP | MC8 | Wall 3M-MC
RH9 | Wall 3U-IRH | MCTEMP9 | Wall 3B-MCTEMP | RHTEMP9 | Wall 3U-IRHTEMP | MC9 | Wall 3B-MC
RH10 | Wall 3M-RH | MCTEMP10 | Wall 4U-MCTEMP | RHTEMP10 | Wall 3M-RHTEMP | MC10 | Wall 4U-MC
RH11 | ROOM-RH2 | MCTEMP11 | Wall 4M-MCTEMP | RHTEMP11 | ROOM-RH1TEMP | MC11 | Wall 4M-MC
RH12 | Wall 4U-ORH | MCTEMP12 | Wall 4B-MCTEMP | RHTEMP12 | Wall 4U-ORHTEMP | MC12 | Wall 4B-MC
RH13 | Wall 4U-IRH | MCTEMP13 | Wall 5U-MCTEMP | RHTEMP13 | Wall 4U-IRHTEMP | MC13 | Wall 5U-MC
RH14 | Wall 4M-RH | MCTEMP14 | Wall 5M-MCTEMP | RHTEMP14 | Wall 4M-RHTEMP | MC14 | Wall 5M-MC
RH15 | Wall 5U-ORH | MCTEMP15 | Wall 5B-MCTEMP | RHTEMP15 | Wall 5U-ORHTEMP | MC15 | Wall 5B-MC
RH16 | Wall 5U-IRH | MCTEMP16 | Wall 6U-MCTEMP | RHTEMP16 | Wall 5U-IRHTEMP | MC16 | Wall 6U-MC
RH17 | Wall 5U-TRH | MCTEMP17 | Wall 6M-MCTEMP | RHTEMP17 | Wall 5U-TRHTEMP | MC17 | Wall 6M-MC
RH18 | Wall 5M-RH | MCTEMP18 | Wall 6B-MCTEMP | RHTEMP18 | Wall 5M-RHTEMP | MC18 | Wall 6B-MC
RH19 | Wall 6U-ORH | MCTEMP19 | Wall 7U-MCTEMP | RHTEMP19 | Wall 6U-ORHTEMP | MC19 | Wall 7U-MC
RH20 | Wall 6U-IRH | MCTEMP20 | Wall 7M-MCTEMP | RHTEMP20 | Wall 6U-IRHTEMP | MC20 | Wall 7M-MC
RH21 | Wall 6U-TRH | MCTEMP21 | Wall 7B-MCTEMP | RHTEMP21 | Wall 6U-TRHTEMP | MC21 | Wall 7B-MC
RH22 | Wall 6M-RH | MCTEMP22 | Wall 8U-MCTEMP | RHTEMP22 | Wall 6M-RHTEMP | MC22 | Wall 8U-MC
RH23 | Wall 7U-ORH | MCTEMP23 | Wall 8M-MCTEMP | RHTEMP23 | Wall 7U-ORHTEMP | MC23 | Wall 8M-MC
RH24 | Wall 7U-IRH | MCTEMP24 | Wall 8B-MCTEMP | RHTEMP24 | Wall 7U-IRHTEMP | MC24 | Wall 8B-MC
RH25 | Wall 7U-TRH | MCTEMP25 | Wall 9U-MCTEMP | RHTEMP25 | Wall 7U-TRHTEMP | MC25 | Wall 9U-MC
RH26 | Wall 7M-RH | MCTEMP26 | Wall 9M-MCTEMP | RHTEMP26 | Wall 7M-RHTEMP | MC26 | Wall 9M-MC
RH27 | Wall 8U-ORH | MCTEMP27 | Wall 9B-MCTEMP | RHTEMP27 | Wall 8U-ORHTEMP | MC27 | Wall 9B-MC
RH28 | Wall 8U-IRH |  |  | RHTEMP28 | Wall 8U-IRHTEMP
RH29 | Wall 8M-RH | TEMP1 | Wall 1 M-OTEMP | RHTEMP29 | Wall 8M-RHTEMP
RH30 | Wall 9U-ORH | TEMP2 | Wall 1 HFSTEMP | RHTEMP30 | Wall 9U-ORHTEMP
RH31 | Wall 9U-IRH | TEMP3 | Wall 2M-OTEMP | RHTEMP31 | Wall 9U-IRHTEMP
RH32 | Wall 9M-RH | TEMP4 | Wall 2HFSTEMP | RHTEMP32 | Wall 9M-RHTEMP
|  | TEMP5 | Wall 3M-OTEMP
|  | TEMP6 | Wall 3HFSTEMP
|  | TEMP7 | Wall 4M-OTEMP
|  | TEMP8 | Wall 4HFSTEMP
|  | TEMP9 | Wall 5M-OTEMP
|  | TEMP10 | Wall 5HFSTEMP
|  | TEMP11 | Wall 6M-OTEMP
|  | TEMP12 | Wall 6HFSTEMP
|  | TEMP13 | Wall 7M-OTEMP
|  | TEMP14 | Wall 7HFSTEMP
|  | TEMP15 | Wall 8M-OTEMP
|  | TEMP16 | Wall 8HFSTEMP
|  | TEMP17 | Wall 9M-OTEMP
|  | TEMP18 | Wall 9HFSTEMP

## ALIAS
RH1 | RH(1) | Wall1_UO_RH | RHTEMP(1) | Wall1_UO_C | Temp_C(1) | MC(1) | Wall 1 U-MC | MCTEMP(1) | Wall1_U_MC_C
RH2 | RH(2) | Wall1_UI_RH | RHTEMP(2) | Wall1_UI_C | Temp_C(2) | MC(1) | Wall 1 M-MC | MCTEMP(2) | Wall1_M_MC_C
RH3 | RH(3) | Wall1_M_RH | RHTEMP(3) | Wall1_M_C | Temp_C(3) | MC(1) | Wall 1 B-MC | MCTEMP(3) | Wall 1 B-MCTEMP
RH4 | RH(4) | ROOM_RH1 | RHTEMP(4) | ROOM_RH1_C | Temp_C(4) | MC(1) | Wall 2U-MC | MCTEMP(4) | Wall 2U-MCTEMP
RH5 | RH(5) | Wall2_UO_RH | RHTEMP(5) | Wall2_UO_ | Temp_C(5) | MC(1) | Wall 2M-MC | MCTEMP(5) | Wall 2M-MCTEMP
RH6 | RH(6) | Wall2_UI_RH | RHTEMP(6) | Wall2_UI_C | Temp_C(6) | MC(1) | Wall 2B-MC | MCTEMP(6) | Wall 2B-MCTEMP
RH7 | RH(7) | Wall2_M_RH | RHTEMP(7) | Wall2_M_C | Temp_C(7) | MC(1) | Wall 3U-MC | MCTEMP(7) | Wall 3U-MCTEMP
RH8 | RH(8) | Wall3_UO_RH | RHTEMP(8) | Wall3_UO_C | Temp_C(8) | MC(1) | Wall 3M-MC | MCTEMP(8) | Wall 3M-MCTEMP
RH9 | RH(9) | Wall3_UI_RH | RHTEMP(9) | Wall3_UI_C | Temp_C(9) | MC(1) | Wall 3B-MC | MCTEMP(9) | Wall 3B-MCTEMP
RH10 | RH(10) | Wall3_M_RH | RHTEMP(10) | Wall3_M_C | Temp_C(10) | MC(1) | Wall 4U-MC | MCTEMP(10) | Wall 4U-MCTEMP
RH11 | RH(11) | ROOM_RH2 | RHTEMP(11) | ROOM_RH2_C | Temp_C(11) | MC(1) | Wall 4M-MC | MCTEMP(11) | Wall 4M-MCTEMP
RH12 | RH(12) | Wall4_UO_RH | RHTEMP(12) | Wall4_UO_C | Temp_C(12) | MC(1) | Wall 4B-MC | MCTEMP(12) | Wall 4B-MCTEMP
RH13 | RH(13) | Wall4_UI_RH | RHTEMP(13) | Wall4_UI_C | Temp_C(13) | MC(1) | Wall 5U-MC | MCTEMP(13) | Wall 5U-MCTEMP
RH14 | RH(14) | Wall4_M_RH | RHTEMP(14) | Wall4_M_C | Temp_C(14) | MC(1) | Wall 5M-MC | MCTEMP(14) | Wall 5M-MCTEMP
RH15 | RH(15) | Wall5_UO_RH | RHTEMP(15) | Wall5_UO_C | Temp_C(15) | MC(1) | Wall 5B-MC | MCTEMP(15) | Wall 5B-MCTEMP
RH16 | RH(16) | Wall5_UI_RH | RHTEMP(16) | Wall5_UI_C | Temp_C(16) | MC(1) | Wall 6U-MC | MCTEMP(16) | Wall 6U-MCTEMP
RH17 | RH(17) | Wall5_UT_RH | RHTEMP(17) | Wall5_UT_C | Temp_C(18) | MC(1) | Wall 6M-MC | MCTEMP(17) | Wall 6M-MCTEMP
RH18 | RH(18) | Wall5_M_RH | RHTEMP(18) | Wall5_M_C | Temp_C(17) | MC(1) | Wall 6B-MC | MCTEMP(18) | Wall 6B-MCTEMP
RH19 | RH(19) | Wall6_UO_RH | RHTEMP(19) | Wall6_UO_C |  | MC(1) | Wall 7U-MC | MCTEMP(19) | Wall 7U-MCTEMP
RH20 | RH(20) | Wall6_UI_RH | RHTEMP(20) | Wall6_UI_C |  | MC(1) | Wall 7M-MC | MCTEMP(20) | Wall 7M-MCTEMP
RH21 | RH(21) | Wall6_UT_RH | RHTEMP(21) | Wall6_UT_C |  | MC(1) | Wall 7B-MC | MCTEMP(21) | Wall 7B-MCTEMP
RH22 | RH(22) | Wall6_M_RH | RHTEMP(22) | Wall6_M_C |  | MC(1) | Wall 8U-MC | MCTEMP(22) | Wall 8U-MCTEMP
RH23 | RH(23) | Wall7_UO_RH | RHTEMP(23) | Wall7_UO_C |  | MC(1) | Wall 8M-MC | MCTEMP(23) | Wall 8M-MCTEMP
RH24 | RH(24) | Wall7_UI_RH | RHTEMP(24) | Wall7_UI_C |  | MC(1) | Wall 8B-MC | MCTEMP(24) | Wall 8B-MCTEMP
RH25 | RH(25) | Wall7_UT_RH | RHTEMP(25) | Wall7_UT_C |  | MC(1) | Wall 9U-MC | MCTEMP(25) | Wall 9U-MCTEMP
RH26 | RH(26) | Wall7_M_RH | RHTEMP(26) | Wall7_M_C |  | MC(1) | Wall 9M-MC | MCTEMP(26) | Wall 9M-MCTEMP
RH27 | RH(27) | Wall8_UO_RH | RHTEMP(27) | Wall8_UO_C |  | MC(1) | Wall 9B-MC | MCTEMP(27) | Wall 9B-MCTEMP
RH28 | RH(28) | Wall8_UI_RH | RHTEMP(28) | Wall8_UI_C
RH29 | RH(29) | Wall8_M_RH | RHTEMP(29) | Wall8_M_C
RH30 | RH(30) | Wall9_UO_RH | RHTEMP(30) | Wall9_UO_C
RH31 | RH(31) | Wall9_UI_RH | RHTEMP(31) | Wall9_UI_C
RH32 | RH(32) | Wall9_M_RH | RHTEMP(32) | Wall9_M_C