Weller GSHP Timeline

Sept 2010 ground loop installed

10/1/2010 temperature strings installed

1.21.2011 solar panels in place/heat pump on-site

3-30-2011 in building plumbing started

5/20/2010 data collection system installed

9/9/2010 heat pump started

10/17/2010 heat pump offline – compressor failure

2/9/2010 compressor replaced

2/13/2010 tripped breaker, off line again