## Sheet1
CCHRC HMES Project
BP Solar PV monitoring station data tables and questions. | [9 empty] | Data Files | [7 empty] | Table Name
Last Update: | 2007-11-15 10:00 | [8 empty] | A | Station Diagnostics | [5 empty] | chk | HourlyDiag
Last Update By: | AMcHugh | [8 empty] | B | 15-Minute Solar Panel Temperature Data | [5 empty] | chk | FifteenMinPVtemp
[10 empty] | C | Hourly Solar Panel Temperature Data | [5 empty] | chk | HourlyPVtemp
Key Analysis and Demonstration Questions | [9 empty] | D | 15-Minute Radiation Information | [5 empty] | chk | FifteenMinSolarRad
- What are solar arrays environmental conditions (temperature, wind, precipitation, solar radiation)? | [9 empty] | E | Hourly Radiation Information | [5 empty] | chk | HourlySolarRad
- What is the physical orientation of the solar panels and how is this impacting performance data? | [9 empty] | F | Daily Solar Array Panel Information | [5 empty] | chk | DailyPVarray
- What are the impacts of winter conditions on solar panel performance? | [9 empty] | G | 15-Minute Position Information | [5 empty] | chk | FifteenMinPanelAlign
- What are the key questions from the public, contractors, engineers, and technologiy developers? | [9 empty] | H | Hourly Solar Panel Position Data | [5 empty] | chk | HourlyPanelAlign
[10 empty] | I | Hourly Background Atmospheric Data | [6 empty] | HourlyAtmospherics | Met Stn
CSI Data Station Collection Standards Summary Table | [9 empty] | J | Daily Background Atmospheric Data | [6 empty] | DailyAtmospherics | Met Stn
[10 empty] | L | Hourly Raw Data (collected for field diagnostics) | [5 empty] | chk | HourlyRaw
Data Tables
|  |  |  | 15 Minute Data |  |  |  |  | 1 Hour Data |  |  |  |  | Daily Data
Parameters |  | # Sensors | Units | Point | Ave | Max | Min | StdDev | Point | Ave | Max | Min | StdDev | Point | Ave | Max | Min
Array Conditions (repeated for each tracker array)
- Solar Panel Temperature (3 replicates) |  | 60 | °C | B | B | B | B |  | C | C | C | C |  |  | F
- Solar Panel Temperature (3 replicates) |  | 60 | kΩ | [5 empty] | L | L | L | L
- Tracker-Plane Solar Radiation |  | 4 | W/m2 | D | D | D | D |  | E | E | E | E |  |  | F
- Tracker Position, Tilt |  | 4 | Degree | G |  |  |  | G | H |  |  |  | H
- Tracker Position, Direction (azimuth) |  | 4 | Degree | G |  |  |  | G | H |  |  |  | H |  |  |  |  | mag, and true
- Reflected Solar Radiation |  | 1 | W/m2 | D | D | D | D |  | E | E | E | E |  |  | F
Background Conditions (collected at Meteorological Station)
- Air Temperature (HMP45C) |  | 1 | °C | [5 empty] | I | I | I | I |  |  | J | J | J
- Air Temperature (GWS-YSI) |  | 3 | °C | [5 empty] | I | I | I | I |  |  | J | J | J
- Air Temperature (GWS-YSI) (Raw) |  | 3 | kΩ | [5 empty] | L | L | L | L
- Relative Humidity (HMP45C) |  | 1 | % | [5 empty] | I | I | I | I |  |  | J | J | J
- Wind Speed, Direction |  | 3 | mph | [5 empty] | I | I | I | I |  |  | J | J | J
- Solar Radiation |  | 1 | W/m2 | [5 empty] | I | I | I | I
Monitoring System Diagnostic Conditions
- Station ID |  | 1 | # | B,D,G |  |  |  |  | A,C,E,H,L |  |  |  |  | F,J |  |  |  | Station ID in every table
- CR1000 Temperature |  | 1 | °C | [5 empty] | A | A
- Battery Voltage |  | 1 | volts | [5 empty] | A | A | A | A
- Battery Box Temperature (GWS-YSI) |  | 3 | °C | [5 empty] | A | A | A | A
- Battery Box Temperature (GWS-YSI) (Raw) |  | 3 | kΩ | [5 empty] | L | L | L | L
- Position-Sensor Box Temp (GWS-YSI) |  | 1 | °C | [5 empty] | A | [8 empty] | not included
- Position-Sensor Box Temp (GWS-YSI) |  | 1 | kΩ | [5 empty] | L | L | L | L | [5 empty] | not included
- Seimens Solar Panel Voltage |  | 1 | volts | [5 empty] | A | A
- Seimens Solar Panel Temp (GWS-YSI) |  | 3 | °C | B | B | B | B |  | C | C | C | C |  |  | F
- Seimens Solar Panel Temp (GWS-YSI) |  | 3 | kΩ | [5 empty] | L | L | L | L