## Sheet1
| Image | Location | Diagram | Coordinate |  |  | Sensor | Location Notes | SigEr | Station | Time Stamps |  |  |  | Error has significant errors or recording outside a reasonable range.
|  |  |  | X | Y | Z |  |  |  |  | Hourly Average | Daily Average | Daily Maximum | Daily Minimum | Dev is within a resonable range but the trend is unlikely to be valid or does not agree with other sensors
| B | [5 empty] | CCHTH12-1 | Below Gravel Fill, Bucket #12 | Dev | Basement | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Max(1) | GWS_T_deg_C_Min(1) | mDev has reasonable trend and values. It either lacks other sensors to validate or sensors have small deviation
| B | [5 empty] | CCHTH12-2 | Below Gravel Fill, Bucket #12 | Dev | Basement | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Max(2) | GWS_T_deg_C_Min(2) | Acpt is supported by other sensors that have negligible deviation
| B | [5 empty] | CCHTH12-3 | Below Gravel Fill, Bucket #12 | Dev | Basement | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Max(3) | GWS_T_deg_C_Min(3)
| B | [5 empty] | CCHTH13-1 | Below Gravel Fill, Bucket #13 | Dev | Basement | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Max(4) | GWS_T_deg_C_Min(4)
| B | [5 empty] | CCHTH13-2 | Below Gravel Fill, Bucket #13 | Dev | Basement | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Max(5) | GWS_T_deg_C_Min(5)
| B | [5 empty] | CCHTH13-3 | Below Gravel Fill, Bucket #13 | Dev | Basement | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Max(6) | GWS_T_deg_C_Min(6)
| B | [5 empty] | CCHTH14-1 | Below Gravel Fill, Bucket #14 | Error | Basement | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Max(7) | GWS_T_deg_C_Min(7)
| B | [5 empty] | CCHTH14-2 | Below Gravel Fill, Bucket #14 | Error | Basement | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Max(8) | GWS_T_deg_C_Min(8)
| B | [5 empty] | CCHTH14-3 | Below Gravel Fill, Bucket #14 | Error | Basement | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Max(9) | GWS_T_deg_C_Min(9)
| B | [5 empty] | CCHTH15-1 | Below Gravel Fill | Acpt | Basement | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Max(10) | GWS_T_deg_C_Min(10)
| B | [5 empty] | CCHTH15-2 | Below Gravel Fill | Acpt | Basement | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Max(11) | GWS_T_deg_C_Min(11)
| B | [5 empty] | CCHTH15-3 | Below Gravel Fill | Acpt | Basement | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Max(12) | GWS_T_deg_C_Min(12)
| B | [5 empty] | CCHTH18-1 | Basement vertical section, 5' below grade | Dev | Basement | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Max(13) | GWS_T_deg_C_Min(13)
| B | [5 empty] | CCHTH18-2 | Basement vertical section, 5' below grade | mDev | Basement | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Max(14) | GWS_T_deg_C_Min(14)
| B | [5 empty] | CCHTH18-3 | Basement vertical section, 5' below grade | mDev | Basement | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Max(15) | GWS_T_deg_C_Min(15)
| B | [5 empty] | CCHTH27-1 | Boundary Jpad between utilidor and basement | Dev | Basement | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Max(16) | GWS_T_deg_C_Min(16)
| B | [5 empty] | CCHTH27-2 | Boundary Jpad between utilidor and basement | Error | Basement | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Max(17) | GWS_T_deg_C_Min(17)
| B | [5 empty] | CCHTH27-3 | Boundary Jpad between utilidor and basement | Dev | Basement | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Max(18) | GWS_T_deg_C_Min(18)
| B | [5 empty] | CCHTH28-1 | 1 tape band, 16" below blue board | Dev | Basement | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Max(19) | GWS_T_deg_C_Min(19)
| B | [5 empty] | CCHTH28-2 | 1 tape band, 16" below blue board | Error | Basement | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Max(20) | GWS_T_deg_C_Min(20)
| B | [5 empty] | CCHTH28-3 | 1 tape band, 16" below blue board | Error | Basement | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Max(21) | GWS_T_deg_C_Min(21)
| B | [5 empty] | CCHTH29-1 | 3 tape bands, bottom of blue board | Dev | Basement | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Max(22) | GWS_T_deg_C_Min(22)
| B | [5 empty] | CCHTH29-2 | 3 tape bands, bottom of blue board | Dev | Basement | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Max(23) | GWS_T_deg_C_Min(23)
| B | [5 empty] | CCHTH29-3 | 3 tape bands, bottom of blue board | Dev | Basement | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Max(24) | GWS_T_deg_C_Min(24)
| B | [5 empty] | CCHTH30-1 | 4 tape bands, top of blue board | mDev | Basement | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Max(25) | GWS_T_deg_C_Min(25)
| B | [5 empty] | CCHTH30-2 | 4 tape bands, top of blue board | Dev | Basement | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Max(26) | GWS_T_deg_C_Min(26)
| B | [5 empty] | CCHTH30-3 | 4 tape bands, top of blue board | Error | Basement | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Max(27) | GWS_T_deg_C_Min(27)
| B | [5 empty] | CCHTH31-1 | 2 tape bands, ~1" below top of concrete pad | Error | Basement | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Max(28) | GWS_T_deg_C_Min(28)
| B | [5 empty] | CCHTH31-2 | 2 tape bands, ~1" below top of concrete pad | Dev | Basement | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Max(29) | GWS_T_deg_C_Min(29)
| B | [5 empty] | CCHTH31-3 | 2 tape bands, ~1" below top of concrete pad | Error | Basement | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Max(30) | GWS_T_deg_C_Min(30)
| B | [5 empty] | CCHTH36-1 | Installed at base of grade beam | mDev | Basement | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Max(31) | GWS_T_deg_C_Min(31)
| B | [5 empty] | CCHTH36-2 | Installed at base of grade beam | Error | Basement | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Max(32) | GWS_T_deg_C_Min(32)
| B | [5 empty] | CCHTH36-3 | Installed at base of grade beam | Dev | Basement | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Max(33) | GWS_T_deg_C_Min(33)
| B | [5 empty] | CCHTH37-1 | Installed 1" below top of grade beam | Acpt | Basement | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Max(34) | GWS_T_deg_C_Min(34)
| B | [5 empty] | CCHTH37-2 | Installed 1" below top of grade beam | Acpt | Basement | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Max(35) | GWS_T_deg_C_Min(35)
| B | [5 empty] | CCHTH37-3 | Installed 1" below top of grade beam | Acpt | Basement | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Max(36) | GWS_T_deg_C_Min(36)
| B | [5 empty] | CCHTH38-1 | Installed at base of blue board, west of pad | mDev | Basement | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Max(37) | GWS_T_deg_C_Min(37)
| B | [5 empty] | CCHTH38-2 | Installed at base of blue board, west of pad | Error | Basement | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Max(38) | GWS_T_deg_C_Min(38)
| B | [5 empty] | CCHTH38-3 | Installed at base of blue board, west of pad | Error | Basement | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Max(39) | GWS_T_deg_C_Min(39)
| B | [5 empty] | CCHTH39-1 | Installed 1" below top of grade beam | mDev | Basement | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Max(40) | GWS_T_deg_C_Min(40)
| B | [5 empty] | CCHTH39-2 | Installed 1" below top of grade beam | mDev | Basement | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Max(41) | GWS_T_deg_C_Min(41)
| B | [5 empty] | CCHTH39-3 | Installed 1" below top of grade beam | mDev | Basement | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Max(42) | GWS_T_deg_C_Min(42)
| B | [5 empty] | CCHTH44-1 | Basement vertical section, 3' below grade | mDev | Basement | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Max(43) | GWS_T_deg_C_Min(43)
| B | [5 empty] | CCHTH44-2 | Basement vertical section, 3' below grade | mDev | Basement | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Max(44) | GWS_T_deg_C_Min(44)
| B | [5 empty] | CCHTH44-3 | Basement vertical section, 3' below grade | Dev | Basement | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Max(45) | GWS_T_deg_C_Min(45)
| B | [5 empty] | CCHTH45-1 | Basement vertical section, 1' below grade | mDev | Basement | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Max(46) | GWS_T_deg_C_Min(46)
| B | [5 empty] | CCHTH45-2 | Basement vertical section, 1' below grade | mDev | Basement | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Max(47) | GWS_T_deg_C_Min(47)
| B | [5 empty] | CCHTH45-3 | Basement vertical section, 1' below grade | mDev | Basement | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Max(48) | GWS_T_deg_C_Min(48)
| B | [5 empty] | CCHTH46-1 | Basement vertical section, 6" below grade | mDev | Basement | GWS_T_deg_C_Avg(49) | GWS_T_deg_C_Avg(49) | GWS_T_deg_C_Max(49) | GWS_T_deg_C_Min(49)
| B | [5 empty] | CCHTH46-2 | Basement vertical section, 6" below grade | Error | Basement | GWS_T_deg_C_Avg(50) | GWS_T_deg_C_Avg(50) | GWS_T_deg_C_Max(50) | GWS_T_deg_C_Min(50)
| B | [5 empty] | CCHTH46-3 | Basement vertical section, 6" below grade | mDev | Basement | GWS_T_deg_C_Avg(51) | GWS_T_deg_C_Avg(51) | GWS_T_deg_C_Max(51) | GWS_T_deg_C_Min(51)
| B | [5 empty] | CCHTH47-1 | Outside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(52) | GWS_T_deg_C_Avg(52) | GWS_T_deg_C_Max(52) | GWS_T_deg_C_Min(52)
| B | [5 empty] | CCHTH47-2 | Outside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(53) | GWS_T_deg_C_Avg(53) | GWS_T_deg_C_Max(53) | GWS_T_deg_C_Min(53)
| B | [5 empty] | CCHTH47-3 | Outside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(54) | GWS_T_deg_C_Avg(54) | GWS_T_deg_C_Max(54) | GWS_T_deg_C_Min(54)
| B | [5 empty] | CCHTH48-1 | Inside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(55) | GWS_T_deg_C_Avg(55) | GWS_T_deg_C_Max(55) | GWS_T_deg_C_Min(55)
| B | [5 empty] | CCHTH48-2 | Inside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(56) | GWS_T_deg_C_Avg(56) | GWS_T_deg_C_Max(56) | GWS_T_deg_C_Min(56)
| B | [5 empty] | CCHTH48-3 | Inside of inside wall | Acpt | Basement | GWS_T_deg_C_Avg(57) | GWS_T_deg_C_Avg(57) | GWS_T_deg_C_Max(57) | GWS_T_deg_C_Min(57)
| B | [5 empty] | CCHTH49-1 | Center of ICF wall | Acpt | Basement | GWS_T_deg_C_Avg(58) | GWS_T_deg_C_Avg(58) | GWS_T_deg_C_Max(58) | GWS_T_deg_C_Min(58)
| B | [5 empty] | CCHTH49-2 | Center of ICF wall | Acpt | Basement | GWS_T_deg_C_Avg(59) | GWS_T_deg_C_Avg(59) | GWS_T_deg_C_Max(59) | GWS_T_deg_C_Min(59)
| B | [5 empty] | CCHTH49-3 | Center of ICF wall | Acpt | Basement | GWS_T_deg_C_Avg(60) | GWS_T_deg_C_Avg(60) | GWS_T_deg_C_Max(60) | GWS_T_deg_C_Min(60)
| B | [5 empty] | CCHTH50-1 | Inside of outside wall | Acpt | Basement | GWS_T_deg_C_Avg(61) | GWS_T_deg_C_Avg(61) | GWS_T_deg_C_Max(61) | GWS_T_deg_C_Min(61)
| B | [5 empty] | CCHTH50-2 | Inside of outside wall | Acpt | Basement | GWS_T_deg_C_Avg(62) | GWS_T_deg_C_Avg(62) | GWS_T_deg_C_Max(62) | GWS_T_deg_C_Min(62)
| B | [5 empty] | CCHTH50-3 | Inside of outside wall | Acpt | Basement | GWS_T_deg_C_Avg(63) | GWS_T_deg_C_Avg(63) | GWS_T_deg_C_Max(63) | GWS_T_deg_C_Min(63)
| B | [5 empty] | CCHTH51-1 | Outside of outside wall | Acpt | Basement | GWS_T_deg_C_Avg(64) | GWS_T_deg_C_Avg(64) | GWS_T_deg_C_Max(64) | GWS_T_deg_C_Min(64)
| B | [5 empty] | CCHTH51-2 | Outside of outside wall | Dev | Basement | GWS_T_deg_C_Avg(65) | GWS_T_deg_C_Avg(65) | GWS_T_deg_C_Max(65) | GWS_T_deg_C_Min(65)
| B | [5 empty] | CCHTH51-3 | Outside of outside wall | Acpt | Basement | GWS_T_deg_C_Avg(66) | GWS_T_deg_C_Avg(66) | GWS_T_deg_C_Max(66) | GWS_T_deg_C_Min(66)
| B | [5 empty] | CCHTH52-1 | Outside of blue board on outside wall | Acpt | Basement | GWS_T_deg_C_Avg(67) | GWS_T_deg_C_Avg(67) | GWS_T_deg_C_Max(67) | GWS_T_deg_C_Min(67)
| B | [5 empty] | CCHTH52-2 | Outside of blue board on outside wall | Dev | Basement | GWS_T_deg_C_Avg(68) | GWS_T_deg_C_Avg(68) | GWS_T_deg_C_Max(68) | GWS_T_deg_C_Min(68)
| B | [5 empty] | CCHTH52-3 | Outside of blue board on outside wall | Acpt | Basement | GWS_T_deg_C_Avg(69) | GWS_T_deg_C_Avg(69) | GWS_T_deg_C_Max(69) | GWS_T_deg_C_Min(69)
| B | [5 empty] | CCHTH255-1 | Top of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(70) | GWS_T_deg_C_Avg(70) | GWS_T_deg_C_Max(70) | GWS_T_deg_C_Min(70)
| B | [5 empty] | CCHTH255-2 | Top of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(71) | GWS_T_deg_C_Avg(71) | GWS_T_deg_C_Max(71) | GWS_T_deg_C_Min(71)
| B | [5 empty] | CCHTH255-3 | Top of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(72) | GWS_T_deg_C_Avg(72) | GWS_T_deg_C_Max(72) | GWS_T_deg_C_Min(72)
| B | [5 empty] | CCHTH256-1 | Middle of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(73) | GWS_T_deg_C_Avg(73) | GWS_T_deg_C_Max(73) | GWS_T_deg_C_Min(73)
| B | [5 empty] | CCHTH256-2 | Middle of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(74) | GWS_T_deg_C_Avg(74) | GWS_T_deg_C_Max(74) | GWS_T_deg_C_Min(74)
| B | [5 empty] | CCHTH256-3 | Middle of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(75) | GWS_T_deg_C_Avg(75) | GWS_T_deg_C_Max(75) | GWS_T_deg_C_Min(75)
| B | [5 empty] | CCHTH257-1 | Bottom of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(76) | GWS_T_deg_C_Avg(76) | GWS_T_deg_C_Max(76) | GWS_T_deg_C_Min(76)
| B | [5 empty] | CCHTH257-2 | Bottom of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(77) | GWS_T_deg_C_Avg(77) | GWS_T_deg_C_Max(77) | GWS_T_deg_C_Min(77)
| B | [5 empty] | CCHTH257-3 | Bottom of tank, West roof | Acpt | Basement | GWS_T_deg_C_Avg(78) | GWS_T_deg_C_Avg(78) | GWS_T_deg_C_Max(78) | GWS_T_deg_C_Min(78)
| B | [5 empty] | CCHTH252-1 | Bottom of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(79) | GWS_T_deg_C_Avg(79) | GWS_T_deg_C_Max(79) | GWS_T_deg_C_Min(79)
| B | [5 empty] | CCHTH252-2 | Bottom of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(80) | GWS_T_deg_C_Avg(80) | GWS_T_deg_C_Max(80) | GWS_T_deg_C_Min(80)
| B | [5 empty] | CCHTH252-3 | Bottom of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(81) | GWS_T_deg_C_Avg(81) | GWS_T_deg_C_Max(81) | GWS_T_deg_C_Min(81)
| B | [5 empty] | CCHTH253-1 | Middle of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(82) | GWS_T_deg_C_Avg(82) | GWS_T_deg_C_Max(82) | GWS_T_deg_C_Min(82)
| B | [5 empty] | CCHTH253-2 | Middle of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(83) | GWS_T_deg_C_Avg(83) | GWS_T_deg_C_Max(83) | GWS_T_deg_C_Min(83)
| B | [5 empty] | CCHTH253-3 | Middle of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(84) | GWS_T_deg_C_Avg(84) | GWS_T_deg_C_Max(84) | GWS_T_deg_C_Min(84)
| B | [5 empty] | CCHTH254-1 | Top of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(85) | GWS_T_deg_C_Avg(85) | GWS_T_deg_C_Max(85) | GWS_T_deg_C_Min(85)
| B | [5 empty] | CCHTH254-2 | Top of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(86) | GWS_T_deg_C_Avg(86) | GWS_T_deg_C_Max(86) | GWS_T_deg_C_Min(86)
| B | [5 empty] | CCHTH254-3 | Top of tank, East roof | Acpt | Basement | GWS_T_deg_C_Avg(87) | GWS_T_deg_C_Avg(87) | GWS_T_deg_C_Max(87) | GWS_T_deg_C_Min(87)
| B | [5 empty] | CCHTH53-10 | East side, vertical profile: 22.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(88) | GWS_T_deg_C_Avg(88) | GWS_T_deg_C_Max(88) | GWS_T_deg_C_Min(88)
| B | [5 empty] | CCHTH53-12 | East side, vertical profile: 24.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(89) | GWS_T_deg_C_Avg(89) | GWS_T_deg_C_Max(89) | GWS_T_deg_C_Min(89)
| B | [5 empty] | CCHTH53-14 | East side, vertical profile: 26.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(90) | GWS_T_deg_C_Avg(90) | GWS_T_deg_C_Max(90) | GWS_T_deg_C_Min(90)
| B | [5 empty] | CCHTH53-16 | East side, vertical profile: 28.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(91) | GWS_T_deg_C_Avg(91) | GWS_T_deg_C_Max(91) | GWS_T_deg_C_Min(91)
| B | [5 empty] | CCHTH53-18 | East side, vertical profile: 30.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(92) | GWS_T_deg_C_Avg(92) | GWS_T_deg_C_Max(92) | GWS_T_deg_C_Min(92)
| B | [5 empty] | CCHTH53-19 | East side, vertical profile: 32.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(93) | GWS_T_deg_C_Avg(93) | GWS_T_deg_C_Max(93) | GWS_T_deg_C_Min(93)
| B | [5 empty] | CCHTH53-20 | East side, vertical profile: 34.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(94) | GWS_T_deg_C_Avg(94) | GWS_T_deg_C_Max(94) | GWS_T_deg_C_Min(94)
| B | [5 empty] | CCHTH53-21 | East side, vertical profile: 36.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(95) | GWS_T_deg_C_Avg(95) | GWS_T_deg_C_Max(95) | GWS_T_deg_C_Min(95)
| B | [5 empty] | CCHTH53-22 | East side, vertical profile: 38.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(96) | GWS_T_deg_C_Avg(96) | GWS_T_deg_C_Max(96) | GWS_T_deg_C_Min(96)
| B | [5 empty] | CCHTH53-23 | East side, vertical profile: 40.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(97) | GWS_T_deg_C_Avg(97) | GWS_T_deg_C_Max(97) | GWS_T_deg_C_Min(97)
| B | [5 empty] | CCHTH53-24 | East side, vertical profile: 42.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(98) | GWS_T_deg_C_Avg(98) | GWS_T_deg_C_Max(98) | GWS_T_deg_C_Min(98)
| B | [5 empty] | CCHTH53-25 | East side, vertical profile: 44.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(99) | GWS_T_deg_C_Avg(99) | GWS_T_deg_C_Max(99) | GWS_T_deg_C_Min(99)
| B | [5 empty] | CCHTH53-26 | East side, vertical profile: 12.7-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(100) | GWS_T_deg_C_Avg(100) | GWS_T_deg_C_Max(100) | GWS_T_deg_C_Min(100)
| B | [5 empty] | CCHTH53-27 | East side, vertical profile: 13.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(101) | GWS_T_deg_C_Avg(101) | GWS_T_deg_C_Max(101) | GWS_T_deg_C_Min(101)
| B | [5 empty] | CCHTH53-28 | East side, vertical profile: 13.7-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(102) | GWS_T_deg_C_Avg(102) | GWS_T_deg_C_Max(102) | GWS_T_deg_C_Min(102)
| B | [5 empty] | CCHTH53-29 | East side, vertical profile: 14.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(103) | GWS_T_deg_C_Avg(103) | GWS_T_deg_C_Max(103) | GWS_T_deg_C_Min(103)
| B | [5 empty] | CCHTH53-30 | East side, vertical profile: 14.7-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(104) | GWS_T_deg_C_Avg(104) | GWS_T_deg_C_Max(104) | GWS_T_deg_C_Min(104)
| B | [5 empty] | CCHTH53-31 | East side, vertical profile: 15.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(105) | GWS_T_deg_C_Avg(105) | GWS_T_deg_C_Max(105) | GWS_T_deg_C_Min(105)
| B | [5 empty] | CCHTH53-32 | East side, vertical profile: 15.7-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(106) | GWS_T_deg_C_Avg(106) | GWS_T_deg_C_Max(106) | GWS_T_deg_C_Min(106)
| B | [5 empty] | CCHTH53-33 | East side, vertical profile: 16.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(107) | GWS_T_deg_C_Avg(107) | GWS_T_deg_C_Max(107) | GWS_T_deg_C_Min(107)
| B | [5 empty] | CCHTH53-34 | East side, vertical profile: 16.7-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(108) | GWS_T_deg_C_Avg(108) | GWS_T_deg_C_Max(108) | GWS_T_deg_C_Min(108)
| B | [5 empty] | CCHTH53-35 | East side, vertical profile: 17.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(109) | GWS_T_deg_C_Avg(109) | GWS_T_deg_C_Max(109) | GWS_T_deg_C_Min(109)
| B | [5 empty] | CCHTH53-36 | East side, vertical profile: 18.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(110) | GWS_T_deg_C_Avg(110) | GWS_T_deg_C_Max(110) | GWS_T_deg_C_Min(110)
| B | [5 empty] | CCHTH53-37 | East side, vertical profile: 20.2-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(111) | GWS_T_deg_C_Avg(111) | GWS_T_deg_C_Max(111) | GWS_T_deg_C_Min(111)
| B | [5 empty] | CCHTH53-38 | East side, vertical profile: 0.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(112) | GWS_T_deg_C_Avg(112) | GWS_T_deg_C_Max(112) | GWS_T_deg_C_Min(112)
| B | [5 empty] | CCHTH53-39 | East side, vertical profile: 1.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(113) | GWS_T_deg_C_Avg(113) | GWS_T_deg_C_Max(113) | GWS_T_deg_C_Min(113)
| B | [5 empty] | CCHTH53-40 | East side, vertical profile: 1.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(114) | GWS_T_deg_C_Avg(114) | GWS_T_deg_C_Max(114) | GWS_T_deg_C_Min(114)
| B | [5 empty] | CCHTH53-41 | East side, vertical profile: 2.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(115) | GWS_T_deg_C_Avg(115) | GWS_T_deg_C_Max(115) | GWS_T_deg_C_Min(115)
| B | [5 empty] | CCHTH53-42 | East side, vertical profile: 2.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(116) | GWS_T_deg_C_Avg(116) | GWS_T_deg_C_Max(116) | GWS_T_deg_C_Min(116)
| B | [5 empty] | CCHTH53-43 | East side, vertical profile: 3.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(117) | GWS_T_deg_C_Avg(117) | GWS_T_deg_C_Max(117) | GWS_T_deg_C_Min(117)
| B | [5 empty] | CCHTH53-44 | East side, vertical profile: 3.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(118) | GWS_T_deg_C_Avg(118) | GWS_T_deg_C_Max(118) | GWS_T_deg_C_Min(118)
| B | [5 empty] | CCHTH53-45 | East side, vertical profile: 4.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(119) | GWS_T_deg_C_Avg(119) | GWS_T_deg_C_Max(119) | GWS_T_deg_C_Min(119)
| B | [5 empty] | CCHTH53-46 | East side, vertical profile: 4.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(120) | GWS_T_deg_C_Avg(120) | GWS_T_deg_C_Max(120) | GWS_T_deg_C_Min(120)
| B | [5 empty] | CCHTH53-47 | East side, vertical profile: 5.5-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(121) | GWS_T_deg_C_Avg(121) | GWS_T_deg_C_Max(121) | GWS_T_deg_C_Min(121)
| B | [5 empty] | CCHTH53-48 | East side, vertical profile: 7.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(122) | GWS_T_deg_C_Avg(122) | GWS_T_deg_C_Max(122) | GWS_T_deg_C_Min(122)
| B | [5 empty] | CCHTH53-49 | East side, vertical profile: 10.0-ft depth | Acpt | Basement | GWS_T_deg_C_Avg(123) | GWS_T_deg_C_Avg(123) | GWS_T_deg_C_Max(123) | GWS_T_deg_C_Min(123)
| B | [5 empty] | CCHTH53-50 | Below Gravel Fill, Bucket #12 | Acpt | Basement | CS616_SM_Avg(1) | CS616_SM_Avg(1) | CS616_SM_Max(1) | CS616_SM_Min(1)
| B | [5 empty] | CCHTH53-51 | Below Gravel Fill, Bucket #13 | Acpt | Basement | CS616_SM_Avg(2) | CS616_SM_Avg(2) | CS616_SM_Max(2) | CS616_SM_Min(2)
| B | [5 empty] | CCHTH53-52 | Below Gravel Fill, Bucket #14 | Acpt | Basement | CS616_SM_Avg(3) | CS616_SM_Avg(3) | CS616_SM_Max(3) | CS616_SM_Min(3)
| B | [5 empty] | CCHTH53-53 | Below Gravel Fill | Acpt | Basement | CS616_SM_Avg(4) | CS616_SM_Avg(4) | CS616_SM_Max(4) | CS616_SM_Min(4)
| B | [5 empty] | CCHTH53-54 | Basement vertical section, 5' below grade | Acpt | Basement | CS616_SM_Avg(5) | CS616_SM_Avg(5) | CS616_SM_Max(5) | CS616_SM_Min(5)
| B | [5 empty] | CCHTH53-55 | Installed adjacent to elevator foundation, north side; 1 purple tape, 1 red tape | Acpt | Basement | CS616_SM_Avg(6) | CS616_SM_Avg(6) | CS616_SM_Max(6) | CS616_SM_Min(6)
| B | [5 empty] | CCHTH53-56 | Boundary Jpad between utilidor and basement | Acpt | Basement | CS616_SM_Avg(7) | CS616_SM_Avg(7) | CS616_SM_Max(7) | CS616_SM_Min(7)
| B | [5 empty] | CCHTH53-57 | Basement vertical section, 3' below grade | Acpt | Basement | CS616_SM_Avg(8) | CS616_SM_Avg(8) | CS616_SM_Max(8) | CS616_SM_Min(8)
| B | [5 empty] | CCHTH53-58 | Basement vertical section, 1' below grade | Acpt | Basement | CS616_SM_Avg(9) | CS616_SM_Avg(9) | CS616_SM_Max(9) | CS616_SM_Min(9)
| B | [5 empty] | CCHTH53-59 | Basement vertical section, 6" below grade | Acpt | Basement | CS616_SM_Avg(10) | CS616_SM_Avg(10) | CS616_SM_Max(10) | CS616_SM_Min(10)
| G | [5 empty] | CCHTH6(1) | Installed vertically, 78" below top of Jpad | Error | North Bay | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Max(1) | GWS_T_deg_C_Min(1)
| G | [5 empty] | CCHTH6(2) | Installed vertically, 78" below top of Jpad | Dev | North Bay | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Max(2) | GWS_T_deg_C_Min(2)
| G | [5 empty] | CCHTH6(3) | Installed vertically, 78" below top of Jpad | Dev | North Bay | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Max(3) | GWS_T_deg_C_Min(3)
| G | 76.5 below top of jacking pad |  |  |  |  | CCHTH7(1) | Installed vertically, 76.5" below top of Jpad | mDev | North Bay | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Max(4) | GWS_T_deg_C_Min(4)
| G | [5 empty] | CCHTH7(2) | Installed vertically, 76.5" below top of Jpad | mDev | North Bay | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Max(5) | GWS_T_deg_C_Min(5)
| G | [5 empty] | CCHTH7(3) | Installed vertically, 76.5" below top of Jpad | Dev | North Bay | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Max(6) | GWS_T_deg_C_Min(6)
| G | [5 empty] | CCHTH10(1) | Installed horizontally, 33" below top of Jpad | mdev | North Bay | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Max(7) | GWS_T_deg_C_Min(7)
| G | [5 empty] | CCHTH10(2) | Installed horizontally, 33" below top of Jpad | Error | North Bay | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Max(8) | GWS_T_deg_C_Min(8)
| G | [5 empty] | CCHTH10(3) | Installed horizontally, 33" below top of Jpad | mDev | North Bay | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Max(9) | GWS_T_deg_C_Min(9)
| G | [5 empty] | CCHTH11(1) | Installed horizontally, 33" below top of Jpad | Error | North Bay | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Max(10) | GWS_T_deg_C_Min(10)
| G | [5 empty] | CCHTH11(2) | Installed horizontally, 33" below top of Jpad | Error | North Bay | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Max(11) | GWS_T_deg_C_Min(11)
| G | [5 empty] | CCHTH11(3) | Installed horizontally, 33" below top of Jpad | Error | North Bay | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Max(12) | GWS_T_deg_C_Min(12)
x | G | [5 empty] | CCHTH16(1) | Middle of Jacking Pad, below blueboard | mDev | North Bay | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Max(13) | GWS_T_deg_C_Min(13)
x | G | [5 empty] | CCHTH16(2) | Middle of Jacking Pad, below blueboard | Dev | North Bay | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Max(14) | GWS_T_deg_C_Min(14)
x | G | [5 empty] | CCHTH16(3) | Middle of Jacking Pad, below blueboard | mDev | North Bay | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Max(15) | GWS_T_deg_C_Min(15)
x | G | [5 empty] | CCHTH17(1) | Installed horizontally, 1' out and 1' below Jpad | Error | North Bay | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Max(16) | GWS_T_deg_C_Min(16)
x | G | [5 empty] | CCHTH17(2) | Installed horizontally, 1' out and 1' below Jpad | Dev | North Bay | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Max(17) | GWS_T_deg_C_Min(17)
x | G | [5 empty] | CCHTH17(3) | Installed horizontally, 1' out and 1' below Jpad | Dev | North Bay | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Max(18) | GWS_T_deg_C_Min(18)
x | G | [5 empty] | CCHTH19(1) | Installed horiz, 1' in from vertical bb, under bb below Jpad | Error | North Bay | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Max(19) | GWS_T_deg_C_Min(19)
x | G | [5 empty] | CCHTH19(2) | Installed horiz, 1' in from vertical bb, under bb below Jpad | Error | North Bay | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Max(20) | GWS_T_deg_C_Min(20)
x | G | [5 empty] | CCHTH19(3) | Installed horiz, 1' in from vertical bb, under bb below Jpad | Dev | North Bay | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Max(21) | GWS_T_deg_C_Min(21)
x | G | [5 empty] | CCHTH20(1) | Installed horizontally, 1' from bottom of Jpad | mDev | North Bay | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Max(22) | GWS_T_deg_C_Min(22)
x | G | [5 empty] | CCHTH20(2) | Installed horizontally, 1' from bottom of Jpad | Dev | North Bay | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Max(23) | GWS_T_deg_C_Min(23)
x | G | [5 empty] | CCHTH20(3) | Installed horizontally, 1' from bottom of Jpad | Error | North Bay | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Max(24) | GWS_T_deg_C_Min(24)
x | G | [5 empty] | CCHTH21(1) | Installed horizontally, 1' out from top, under bb. | Dev | North Bay | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Max(25) | GWS_T_deg_C_Min(25)
x | G | [5 empty] | CCHTH21(2) | Installed horizontally, 1' out from top, under bb. | mDev | North Bay | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Max(26) | GWS_T_deg_C_Min(26)
x | G | [5 empty] | CCHTH21(3) | Installed horizontally, 1' out from top, under bb. | mDev | North Bay | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Max(27) | GWS_T_deg_C_Min(27)
x | G | [5 empty] | CCHTH22(1) | Installed horizontally, 1' out from top, above bb. | Error | North Bay | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Max(28) | GWS_T_deg_C_Min(28)
x | G | [5 empty] | CCHTH22(2) | Installed horizontally, 1' out from top, above bb. | Error | North Bay | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Max(29) | GWS_T_deg_C_Min(29)
x | G | [5 empty] | CCHTH22(3) | Installed horizontally, 1' out from top, above bb. | Error | North Bay | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Max(30) | GWS_T_deg_C_Min(30)
x | G | [5 empty] | CCHTH23(1) | Installed horizontally, 1' out from Jpad, 6" below grade. | Dev | North Bay | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Max(31) | GWS_T_deg_C_Min(31)
x | G | [5 empty] | CCHTH23(2) | Installed horizontally, 1' out from Jpad, 6" below grade. | Dev | North Bay | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Max(32) | GWS_T_deg_C_Min(32)
x | G | [5 empty] | CCHTH23(3) | Installed horizontally, 1' out from Jpad, 6" below grade. | Dev | North Bay | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Max(33) | GWS_T_deg_C_Min(33)
| G | [5 empty] | CCHTH32(1) | #28 change to 32 Under cement at gravel | mDev | North Bay | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Max(34) | GWS_T_deg_C_Min(34)
| G | [5 empty] | CCHTH32(2) | #28 change to 32 Under cement at gravel | mDev | North Bay | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Max(35) | GWS_T_deg_C_Min(35)
| G | [5 empty] | CCHTH32(3) | #28 change to 32 Under cement at gravel | Dev | North Bay | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Max(36) | GWS_T_deg_C_Min(36)
| G | [5 empty] | CCHTH33(1) | #29 change to 33 1" below top of cement (5" from gravel) | mDev | North Bay | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Max(37) | GWS_T_deg_C_Min(37)
| G | [5 empty] | CCHTH33(2) | #29 change to 33 1" below top of cement (5" from gravel) | mDev | North Bay | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Max(38) | GWS_T_deg_C_Min(38)
| G | [5 empty] | CCHTH33(3) | #29 change to 33 1" below top of cement (5" from gravel) | Dev | North Bay | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Max(39) | GWS_T_deg_C_Min(39)
| G | [5 empty] | Therm-2YSI-20-07045 |  | Acpt | North Bay | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Max(40) | GWS_T_deg_C_Min(40)
| G | [5 empty] | Therm-2YSI-20-07045 |  | Acpt | North Bay | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Max(41) | GWS_T_deg_C_Min(41)
| G | [5 empty] | Therm-2YSI-20-07046 |  | Error | North Bay | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Max(42) | GWS_T_deg_C_Min(42)
| G | [5 empty] | Therm-2YSI-20-07046 |  | Acpt | North Bay | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Max(43) | GWS_T_deg_C_Min(43)
| G | [6 empty] | NO SENSOR | Acpt | North Bay | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Max(44) | GWS_T_deg_C_Min(44)
| G | [6 empty] | NO SENSOR | Error | North Bay | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Max(45) | GWS_T_deg_C_Min(45)
| G | [6 empty] | NO SENSOR | Error | North Bay | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Max(46) | GWS_T_deg_C_Min(46)
| G | [6 empty] | NO SENSOR | Error | North Bay | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Max(47) | GWS_T_deg_C_Min(47)
| G | [6 empty] | NO SENSOR | Error | North Bay | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Max(48) | GWS_T_deg_C_Min(48)
| G | [5 empty] | CCHSM6 | Installed vertically, 78" below top of Jpad | Acpt | North Bay | CS616_SM_Avg(1) | CS616_SM_Avg(1) | CS616_SM_Max(1) | CS616_SM_Min(1)
| G | [5 empty] | CCHSM7 | Installed vertically, 76.5" below top of Jpad | Acpt | North Bay | CS616_SM_Avg(2) | CS616_SM_Avg(2) | CS616_SM_Max(2) | CS616_SM_Min(2)
| G | [5 empty] | CCHSM10 | Installed horizontally, 33" below top of Jpad | Acpt | North Bay | CS616_SM_Avg(3) | CS616_SM_Avg(3) | CS616_SM_Max(3) | CS616_SM_Min(3)
| G | [5 empty] | CCHSM11 | Installed horizontally, 33" below top of Jpad | Acpt | North Bay | CS616_SM_Avg(4) | CS616_SM_Avg(4) | CS616_SM_Max(4) | CS616_SM_Min(4)
| G | [5 empty] | Therm-3YSI-35-07001 | Middle, 0.5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(1) | GWS2_T_deg_C_Avg(1) | GWS2_T_deg_C_Max(1) | GWS2_T_deg_C_Min(1)
| G | [5 empty] | Therm-3YSI-35-07001 | Middle, 0.5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(2) | GWS2_T_deg_C_Avg(2) | GWS2_T_deg_C_Max(2) | GWS2_T_deg_C_Min(2)
| G | [5 empty] | Therm-3YSI-35-07001 | Middle, 0.5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(3) | GWS2_T_deg_C_Avg(3) | GWS2_T_deg_C_Max(3) | GWS2_T_deg_C_Min(3)
| G | [5 empty] | Therm-3YSI-35-07002 | Middle, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(4) | GWS2_T_deg_C_Avg(4) | GWS2_T_deg_C_Max(4) | GWS2_T_deg_C_Min(4)
| G | [5 empty] | Therm-3YSI-35-07002 | Middle, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(5) | GWS2_T_deg_C_Avg(5) | GWS2_T_deg_C_Max(5) | GWS2_T_deg_C_Min(5)
| G | [5 empty] | Therm-3YSI-35-07002 | Middle, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(6) | GWS2_T_deg_C_Avg(6) | GWS2_T_deg_C_Max(6) | GWS2_T_deg_C_Min(6)
| G | [5 empty] | Therm-3YSI-35-07003 | Middle, 10 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(7) | GWS2_T_deg_C_Avg(7) | GWS2_T_deg_C_Max(7) | GWS2_T_deg_C_Min(7)
| G | [5 empty] | Therm-3YSI-35-07003 | Middle, 10 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(8) | GWS2_T_deg_C_Avg(8) | GWS2_T_deg_C_Max(8) | GWS2_T_deg_C_Min(8)
| G | [5 empty] | Therm-3YSI-35-07003 | Middle, 10 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(9) | GWS2_T_deg_C_Avg(9) | GWS2_T_deg_C_Max(9) | GWS2_T_deg_C_Min(9)
| G | [5 empty] | Therm-3YSI-35-07004 | Middle, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(10) | GWS2_T_deg_C_Avg(10) | GWS2_T_deg_C_Max(10) | GWS2_T_deg_C_Min(10)
| G | [5 empty] | Therm-3YSI-35-07004 | Middle, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(11) | GWS2_T_deg_C_Avg(11) | GWS2_T_deg_C_Max(11) | GWS2_T_deg_C_Min(11)
| G | [5 empty] | Therm-3YSI-35-07004 | Middle, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(12) | GWS2_T_deg_C_Avg(12) | GWS2_T_deg_C_Max(12) | GWS2_T_deg_C_Min(12)
| G | [5 empty] | Therm-3YSI-35-07005 | Middle, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(13) | GWS2_T_deg_C_Avg(13) | GWS2_T_deg_C_Max(13) | GWS2_T_deg_C_Min(13)
| G | [5 empty] | Therm-3YSI-35-07005 | Middle, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(14) | GWS2_T_deg_C_Avg(14) | GWS2_T_deg_C_Max(14) | GWS2_T_deg_C_Min(14)
| G | [5 empty] | Therm-3YSI-35-07005 | Middle, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(15) | GWS2_T_deg_C_Avg(15) | GWS2_T_deg_C_Max(15) | GWS2_T_deg_C_Min(15)
| G | [5 empty] | Therm-3YSI-35-07006 | Side, 0.5 in below top of concrete | Error | North Bay | GWS2_T_deg_C_Avg(16) | GWS2_T_deg_C_Avg(16) | GWS2_T_deg_C_Max(16) | GWS2_T_deg_C_Min(16)
| G | [5 empty] | Therm-3YSI-35-07006 | Side, 0.5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(17) | GWS2_T_deg_C_Avg(17) | GWS2_T_deg_C_Max(17) | GWS2_T_deg_C_Min(17)
| G | [5 empty] | Therm-3YSI-35-07006 | Side, 0.5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(18) | GWS2_T_deg_C_Avg(18) | GWS2_T_deg_C_Max(18) | GWS2_T_deg_C_Min(18)
| G | [5 empty] | Therm-3YSI-35-07007 | Side, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(19) | GWS2_T_deg_C_Avg(19) | GWS2_T_deg_C_Max(19) | GWS2_T_deg_C_Min(19)
| G | [5 empty] | Therm-3YSI-35-07007 | Side, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(20) | GWS2_T_deg_C_Avg(20) | GWS2_T_deg_C_Max(20) | GWS2_T_deg_C_Min(20)
| G | [5 empty] | Therm-3YSI-35-07007 | Side, 5 in below top of concrete | Acpt | North Bay | GWS2_T_deg_C_Avg(21) | GWS2_T_deg_C_Avg(21) | GWS2_T_deg_C_Max(21) | GWS2_T_deg_C_Min(21)
| G | [5 empty] | Therm-3YSI-35-07020 | Side, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(22) | GWS2_T_deg_C_Avg(22) | GWS2_T_deg_C_Max(22) | GWS2_T_deg_C_Min(22)
| G | [5 empty] | Therm-3YSI-35-07020 | Side, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(23) | GWS2_T_deg_C_Avg(23) | GWS2_T_deg_C_Max(23) | GWS2_T_deg_C_Min(23)
| G | [5 empty] | Therm-3YSI-35-07020 | Side, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(24) | GWS2_T_deg_C_Avg(24) | GWS2_T_deg_C_Max(24) | GWS2_T_deg_C_Min(24)
| G | [5 empty] | Therm-3YSI-35-07021 | Side, below 2-in blueboard insulation | Acpt | North Bay | GWS2_T_deg_C_Avg(25) | GWS2_T_deg_C_Avg(25) | GWS2_T_deg_C_Max(25) | GWS2_T_deg_C_Min(25)
| G | [5 empty] | Therm-3YSI-35-07021 | Side, below 2-in blueboard insulation | Acpt | North Bay | GWS2_T_deg_C_Avg(26) | GWS2_T_deg_C_Avg(26) | GWS2_T_deg_C_Max(26) | GWS2_T_deg_C_Min(26)
| G | [5 empty] | Therm-3YSI-35-07021 | Side, below 2-in blueboard insulation | Acpt | North Bay | GWS2_T_deg_C_Avg(27) | GWS2_T_deg_C_Avg(27) | GWS2_T_deg_C_Max(27) | GWS2_T_deg_C_Min(27)
| G | [5 empty] | Therm-3YSI-35-07022 | Side, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(28) | GWS2_T_deg_C_Avg(28) | GWS2_T_deg_C_Max(28) | GWS2_T_deg_C_Min(28)
| G | [5 empty] | Therm-3YSI-35-07022 | Side, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(29) | GWS2_T_deg_C_Avg(29) | GWS2_T_deg_C_Max(29) | GWS2_T_deg_C_Min(29)
| G | [5 empty] | Therm-3YSI-35-07022 | Side, 6 in into subgrade material | Dev | North Bay | GWS2_T_deg_C_Avg(30) | GWS2_T_deg_C_Avg(30) | GWS2_T_deg_C_Max(30) | GWS2_T_deg_C_Min(30)
| G | [5 empty] | Therm-3YSI-35-07023 | Corner, 0.5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(31) | GWS2_T_deg_C_Avg(31) | GWS2_T_deg_C_Max(31) | GWS2_T_deg_C_Min(31)
| G | [5 empty] | Therm-3YSI-35-07023 | Corner, 0.5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(32) | GWS2_T_deg_C_Avg(32) | GWS2_T_deg_C_Max(32) | GWS2_T_deg_C_Min(32)
| G | [5 empty] | Therm-3YSI-35-07023 | Corner, 0.5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(33) | GWS2_T_deg_C_Avg(33) | GWS2_T_deg_C_Max(33) | GWS2_T_deg_C_Min(33)
| G | [5 empty] | Therm-3YSI-35-07024 | Corner, 5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(34) | GWS2_T_deg_C_Avg(34) | GWS2_T_deg_C_Max(34) | GWS2_T_deg_C_Min(34)
| G | [5 empty] | Therm-3YSI-35-07024 | Corner, 5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(35) | GWS2_T_deg_C_Avg(35) | GWS2_T_deg_C_Max(35) | GWS2_T_deg_C_Min(35)
| G | [5 empty] | Therm-3YSI-35-07024 | Corner, 5 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(36) | GWS2_T_deg_C_Avg(36) | GWS2_T_deg_C_Max(36) | GWS2_T_deg_C_Min(36)
| G | [5 empty] | Therm-3YSI-35-07025 | Corner, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(37) | GWS2_T_deg_C_Avg(37) | GWS2_T_deg_C_Max(37) | GWS2_T_deg_C_Min(37)
| G | [5 empty] | Therm-3YSI-35-07025 | Corner, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(38) | GWS2_T_deg_C_Avg(38) | GWS2_T_deg_C_Max(38) | GWS2_T_deg_C_Min(38)
| G | [5 empty] | Therm-3YSI-35-07025 | Corner, 10 in below top of concrete | Dev | North Bay | GWS2_T_deg_C_Avg(39) | GWS2_T_deg_C_Avg(39) | GWS2_T_deg_C_Max(39) | GWS2_T_deg_C_Min(39)
| G | [5 empty] | Therm-3YSI-35-07026 | Corner, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(40) | GWS2_T_deg_C_Avg(40) | GWS2_T_deg_C_Max(40) | GWS2_T_deg_C_Min(40)
| G | [5 empty] | Therm-3YSI-35-07026 | Corner, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(41) | GWS2_T_deg_C_Avg(41) | GWS2_T_deg_C_Max(41) | GWS2_T_deg_C_Min(41)
| G | [5 empty] | Therm-3YSI-35-07026 | Corner, below 2-in blueboard insulation | Dev | North Bay | GWS2_T_deg_C_Avg(42) | GWS2_T_deg_C_Avg(42) | GWS2_T_deg_C_Max(42) | GWS2_T_deg_C_Min(42)
| G | [5 empty] | Therm-3YSI-35-07027 | Corner, 6 in into subgrade material | Error | North Bay | GWS2_T_deg_C_Avg(43) | GWS2_T_deg_C_Avg(43) | GWS2_T_deg_C_Max(43) | GWS2_T_deg_C_Min(43)
| G | [5 empty] | Therm-3YSI-35-07027 | Corner, 6 in into subgrade material | Error | North Bay | GWS2_T_deg_C_Avg(44) | GWS2_T_deg_C_Avg(44) | GWS2_T_deg_C_Max(44) | GWS2_T_deg_C_Min(44)
| G | [5 empty] | Therm-3YSI-35-07027 | Corner, 6 in into subgrade material | Error | North Bay | GWS2_T_deg_C_Avg(45) | GWS2_T_deg_C_Avg(45) | GWS2_T_deg_C_Max(45) | GWS2_T_deg_C_Min(45)
| G | [5 empty] | Therm-1YSI-35-07028 | Surface of concrete slab, just below thermal blankets | Acpt | North Bay | GWS2_T_deg_C_Avg(46) | GWS2_T_deg_C_Avg(46) | GWS2_T_deg_C_Max(46) | GWS2_T_deg_C_Min(46)
| G | [5 empty] | Therm-1YSI-35-07029 | Shield air | Acpt | North Bay | GWS2_T_deg_C_Avg(47) | GWS2_T_deg_C_Avg(47) | GWS2_T_deg_C_Max(47) | GWS2_T_deg_C_Min(47)
| G | [6 empty] | NO SENSOR | Acpt | North Bay | GWS2_T_deg_C_Avg(48) | GWS2_T_deg_C_Avg(48) | GWS2_T_deg_C_Max(48) | GWS2_T_deg_C_Min(48)
| G | [5 empty] | CCHTH3(1) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Max(1) | GWS_T_deg_C_Min(1)
| G | [5 empty] | CCHTH3(2) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Max(2) | GWS_T_deg_C_Min(2)
| G | [5 empty] | CCHTH3(3) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Max(3) | GWS_T_deg_C_Min(3)
| G | [5 empty] | CCHTH3(4) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Max(4) | GWS_T_deg_C_Min(4)
| G | [5 empty] | CCHTH3(5) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Max(5) | GWS_T_deg_C_Min(5)
| G | [5 empty] | CCHTH3(6) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Max(6) | GWS_T_deg_C_Min(6)
| G | [5 empty] | CCHTH3(7) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Max(7) | GWS_T_deg_C_Min(7)
| G | [5 empty] | CCHTH3(8) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Max(8) | GWS_T_deg_C_Min(8)
| G | [5 empty] | CCHTH3(9) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Max(9) | GWS_T_deg_C_Min(9)
| G | [5 empty] | CCHTH3(10) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Max(10) | GWS_T_deg_C_Min(10)
| G | [5 empty] | CCHTH3(11) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Max(11) | GWS_T_deg_C_Min(11)
| G | [5 empty] | CCHTH3(12) | West of South Bay, west test bay | Acpt | South Bay | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Max(12) | GWS_T_deg_C_Min(12)
x | G | [5 empty] | CCHTH4(1) | South Bay, south of south Jpad, installed veritically, 82" below top of jpad | Error | South Bay | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Max(13) | GWS_T_deg_C_Min(13)
x | G | [5 empty] | CCHTH4(2) | South Bay, south of south Jpad, installed veritically, 82" below top of jpad | Error | South Bay | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Max(14) | GWS_T_deg_C_Min(14)
x | G | [5 empty] | CCHTH4(3) | South Bay, south of south Jpad, installed veritically, 82" below top of jpad | mDev | South Bay | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Max(15) | GWS_T_deg_C_Min(15)
x | G | [5 empty] | CCHTH5(1) | South Bay, north of south Jpad, installed veritically, 89" below top of jpad | Error | South Bay | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Max(16) | GWS_T_deg_C_Min(16)
x | G | [5 empty] | CCHTH5(2) | South Bay, north of south Jpad, installed veritically, 89" below top of jpad | Error | South Bay | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Max(17) | GWS_T_deg_C_Min(17)
x | G | [5 empty] | CCHTH5(3) | South Bay, north of south Jpad, installed veritically, 89" below top of jpad | Dev | South Bay | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Max(18) | GWS_T_deg_C_Min(18)
x | G | [5 empty] | CCHTH8(1) | South Bay, south of south Jpad, installed horizontally, 33" below top of Jpad | Error | South Bay | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Max(19) | GWS_T_deg_C_Min(19)
x | G | [5 empty] | CCHTH8(2) | South Bay, south of south Jpad, installed horizontally, 33" below top of Jpad | Error | South Bay | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Max(20) | GWS_T_deg_C_Min(20)
x | G | [5 empty] | CCHTH8(3) | South Bay, south of south Jpad, installed horizontally, 33" below top of Jpad | Error | South Bay | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Max(21) | GWS_T_deg_C_Min(21)
x | G | [5 empty] | CCHTH9(1) | South Bay, north of south Jpad, installed horizontally, 33" below top of Jpad | mDev | South Bay | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Max(22) | GWS_T_deg_C_Min(22)
x | G | [5 empty] | CCHTH9(2) | South Bay, north of south Jpad, installed horizontally, 33" below top of Jpad | Dev | South Bay | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Max(23) | GWS_T_deg_C_Min(23)
x | G | [5 empty] | CCHTH9(3) | South Bay, north of south Jpad, installed horizontally, 33" below top of Jpad | Error | South Bay | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Max(24) | GWS_T_deg_C_Min(24)
x | G | [5 empty] | CCHTH34(1) | South Test Bay, #30 change to 34, under cement at gravel | mDev | South Bay | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Max(25) | GWS_T_deg_C_Min(25)
x | G | [5 empty] | CCHTH34(2) | South Test Bay, #30 change to 34, under cement at gravel | mDev | South Bay | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Max(26) | GWS_T_deg_C_Min(26)
x | G | [5 empty] | CCHTH34(3) | South Test Bay, #30 change to 34, under cement at gravel | Dev | South Bay | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Max(27) | GWS_T_deg_C_Min(27)
x | G | [5 empty] | CCHTH35(1) | South Test Bay, #31 change to 35, 1" below top of cement (5" from gravel) | mDev | South Bay | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Max(28) | GWS_T_deg_C_Min(28)
x | G | [5 empty] | CCHTH35(2) | South Test Bay, #31 change to 35, 1" below top of cement (5" from gravel) | mDev | South Bay | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Max(29) | GWS_T_deg_C_Min(29)
x | G | [5 empty] | CCHTH35(3) | South Test Bay, #31 change to 35, 1" below top of cement (5" from gravel) | Dev | South Bay | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Max(30) | GWS_T_deg_C_Min(30)
| G | [5 empty] | CCHTH223(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Max(31) | GWS_T_deg_C_Min(31)
| G | [5 empty] | CCHTH223(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Max(32) | GWS_T_deg_C_Min(32)
| G | [5 empty] | CCHTH223(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Max(33) | GWS_T_deg_C_Min(33)
| G | [5 empty] | CCHTH224(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Max(34) | GWS_T_deg_C_Min(34)
| G | [5 empty] | CCHTH224(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Max(35) | GWS_T_deg_C_Min(35)
| G | [5 empty] | CCHTH224(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Max(36) | GWS_T_deg_C_Min(36)
| G | [5 empty] | CCHTH225(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Avg(37) | GWS_T_deg_C_Max(37) | GWS_T_deg_C_Min(37)
| G | [5 empty] | CCHTH225(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Avg(38) | GWS_T_deg_C_Max(38) | GWS_T_deg_C_Min(38)
| G | [5 empty] | CCHTH225(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Avg(39) | GWS_T_deg_C_Max(39) | GWS_T_deg_C_Min(39)
| G | [5 empty] | CCHTH226(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Avg(40) | GWS_T_deg_C_Max(40) | GWS_T_deg_C_Min(40)
| G | [5 empty] | CCHTH226(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Avg(41) | GWS_T_deg_C_Max(41) | GWS_T_deg_C_Min(41)
| G | [5 empty] | CCHTH226(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Avg(42) | GWS_T_deg_C_Max(42) | GWS_T_deg_C_Min(42)
| G | [5 empty] | CCHTH227(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Avg(43) | GWS_T_deg_C_Max(43) | GWS_T_deg_C_Min(43)
| G | [5 empty] | CCHTH227(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Avg(44) | GWS_T_deg_C_Max(44) | GWS_T_deg_C_Min(44)
| G | [5 empty] | CCHTH227(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Avg(45) | GWS_T_deg_C_Max(45) | GWS_T_deg_C_Min(45)
| G | [5 empty] | CCHTH228(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Avg(46) | GWS_T_deg_C_Max(46) | GWS_T_deg_C_Min(46)
| G | [5 empty] | CCHTH228(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Avg(47) | GWS_T_deg_C_Max(47) | GWS_T_deg_C_Min(47)
| G | [5 empty] | CCHTH228(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Avg(48) | GWS_T_deg_C_Max(48) | GWS_T_deg_C_Min(48)
| G | [5 empty] | CCHTH229(1) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(49) | GWS_T_deg_C_Avg(49) | GWS_T_deg_C_Max(49) | GWS_T_deg_C_Min(49)
| G | [5 empty] | CCHTH229(2) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(50) | GWS_T_deg_C_Avg(50) | GWS_T_deg_C_Max(50) | GWS_T_deg_C_Min(50)
| G | [5 empty] | CCHTH229(3) | South Bay test wall section | Acpt | South Bay | GWS_T_deg_C_Avg(51) | GWS_T_deg_C_Avg(51) | GWS_T_deg_C_Max(51) | GWS_T_deg_C_Min(51)
| G | [5 empty] | CCHTH230(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(52) | GWS_T_deg_C_Avg(52) | GWS_T_deg_C_Max(52) | GWS_T_deg_C_Min(52)
| G | [5 empty] | CCHTH230(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(53) | GWS_T_deg_C_Avg(53) | GWS_T_deg_C_Max(53) | GWS_T_deg_C_Min(53)
| G | [5 empty] | CCHTH230(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(54) | GWS_T_deg_C_Avg(54) | GWS_T_deg_C_Max(54) | GWS_T_deg_C_Min(54)
| G | [5 empty] | CCHTH231(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(55) | GWS_T_deg_C_Avg(55) | GWS_T_deg_C_Max(55) | GWS_T_deg_C_Min(55)
| G | [5 empty] | CCHTH231(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(56) | GWS_T_deg_C_Avg(56) | GWS_T_deg_C_Max(56) | GWS_T_deg_C_Min(56)
| G | [5 empty] | CCHTH231(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(57) | GWS_T_deg_C_Avg(57) | GWS_T_deg_C_Max(57) | GWS_T_deg_C_Min(57)
| G | [5 empty] | CCHTH232(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(58) | GWS_T_deg_C_Avg(58) | GWS_T_deg_C_Max(58) | GWS_T_deg_C_Min(58)
| G | [5 empty] | CCHTH232(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(59) | GWS_T_deg_C_Avg(59) | GWS_T_deg_C_Max(59) | GWS_T_deg_C_Min(59)
| G | [5 empty] | CCHTH232(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(60) | GWS_T_deg_C_Avg(60) | GWS_T_deg_C_Max(60) | GWS_T_deg_C_Min(60)
| G | [5 empty] | CCHTH233(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(61) | GWS_T_deg_C_Avg(61) | GWS_T_deg_C_Max(61) | GWS_T_deg_C_Min(61)
| G | [5 empty] | CCHTH233(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(62) | GWS_T_deg_C_Avg(62) | GWS_T_deg_C_Max(62) | GWS_T_deg_C_Min(62)
| G | [5 empty] | CCHTH233(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(63) | GWS_T_deg_C_Avg(63) | GWS_T_deg_C_Max(63) | GWS_T_deg_C_Min(63)
| G | [5 empty] | CCHTH234(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(64) | GWS_T_deg_C_Avg(64) | GWS_T_deg_C_Max(64) | GWS_T_deg_C_Min(64)
| G | [5 empty] | CCHTH234(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(65) | GWS_T_deg_C_Avg(65) | GWS_T_deg_C_Max(65) | GWS_T_deg_C_Min(65)
| G | [5 empty] | CCHTH234(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(66) | GWS_T_deg_C_Avg(66) | GWS_T_deg_C_Max(66) | GWS_T_deg_C_Min(66)
| G | [5 empty] | CCHTH235(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(67) | GWS_T_deg_C_Avg(67) | GWS_T_deg_C_Max(67) | GWS_T_deg_C_Min(67)
| G | [5 empty] | CCHTH235(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(68) | GWS_T_deg_C_Avg(68) | GWS_T_deg_C_Max(68) | GWS_T_deg_C_Min(68)
| G | [5 empty] | CCHTH235(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(69) | GWS_T_deg_C_Avg(69) | GWS_T_deg_C_Max(69) | GWS_T_deg_C_Min(69)
| G | [5 empty] | CCHTH236(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(70) | GWS_T_deg_C_Avg(70) | GWS_T_deg_C_Max(70) | GWS_T_deg_C_Min(70)
| G | [5 empty] | CCHTH236(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(71) | GWS_T_deg_C_Avg(71) | GWS_T_deg_C_Max(71) | GWS_T_deg_C_Min(71)
| G | [5 empty] | CCHTH236(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(72) | GWS_T_deg_C_Avg(72) | GWS_T_deg_C_Max(72) | GWS_T_deg_C_Min(72)
| G | [5 empty] | CCHTH237(1) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(73) | GWS_T_deg_C_Avg(73) | GWS_T_deg_C_Max(73) | GWS_T_deg_C_Min(73)
| G | [5 empty] | CCHTH237(2) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(74) | GWS_T_deg_C_Avg(74) | GWS_T_deg_C_Max(74) | GWS_T_deg_C_Min(74)
| G | [5 empty] | CCHTH237(3) | South Bay roof test section | Acpt | South Bay | GWS_T_deg_C_Avg(75) | GWS_T_deg_C_Avg(75) | GWS_T_deg_C_Max(75) | GWS_T_deg_C_Min(75)
| G | [5 empty] | CCHTH242(1) | CCHTH242 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(76) | GWS_T_deg_C_Avg(76) | GWS_T_deg_C_Max(76) | GWS_T_deg_C_Min(76)
| G | [5 empty] | CCHTH242(2) | CCHTH242 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(77) | GWS_T_deg_C_Avg(77) | GWS_T_deg_C_Max(77) | GWS_T_deg_C_Min(77)
| G | [5 empty] | CCHTH242(3) | CCHTH242 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(78) | GWS_T_deg_C_Avg(78) | GWS_T_deg_C_Max(78) | GWS_T_deg_C_Min(78)
| G | [5 empty] | CCHTH243(1) | CCHTH243 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(79) | GWS_T_deg_C_Avg(79) | GWS_T_deg_C_Max(79) | GWS_T_deg_C_Min(79)
| G | [5 empty] | CCHTH243(2) | CCHTH243 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(80) | GWS_T_deg_C_Avg(80) | GWS_T_deg_C_Max(80) | GWS_T_deg_C_Min(80)
| G | [5 empty] | CCHTH243(3) | CCHTH243 NOT LISTED | Acpt | South Bay | GWS_T_deg_C_Avg(81) | GWS_T_deg_C_Avg(81) | GWS_T_deg_C_Max(81) | GWS_T_deg_C_Min(81)
| G | [5 empty] | CCHMC704 | South Bay | Acpt | South Bay | BSI_T_deg_C_Avg(1) | BSI_T_deg_C_Avg(1) | BSI_T_deg_C_Max(1) | BSI_T_deg_C_Min(1)
| G | [5 empty] | CCHMC705 | South Bay | Acpt | South Bay | BSI_T_deg_C_Avg(2) | BSI_T_deg_C_Avg(2) | BSI_T_deg_C_Max(2) | BSI_T_deg_C_Min(2)
| G | [5 empty] | CCHMC706 | South Bay, window sill, bay offices | Acpt | South Bay | BSI_T_deg_C_Avg(3) | BSI_T_deg_C_Avg(3) | BSI_T_deg_C_Max(3) | BSI_T_deg_C_Min(3)
| G | [5 empty] | CCHMC707 | South Bay, window sill, bay offices | Acpt | South Bay | BSI_T_deg_C_Avg(4) | BSI_T_deg_C_Avg(4) | BSI_T_deg_C_Max(4) | BSI_T_deg_C_Min(4)
| G | [5 empty] | CCHMC810 | South Bay | Acpt | South Bay | BSI_T_deg_C_Avg(5) | BSI_T_deg_C_Avg(5) | BSI_T_deg_C_Max(5) | BSI_T_deg_C_Min(5)
| G | [5 empty] | CCHMC811 | South Bay | Acpt | South Bay | BSI_T_deg_C_Avg(6) | BSI_T_deg_C_Avg(6) | BSI_T_deg_C_Max(6) | BSI_T_deg_C_Min(6)
| G | [5 empty] | CCHMC812 | South Bay Roof | Acpt | South Bay | BSI_T_deg_C_Avg(7) | BSI_T_deg_C_Avg(7) | BSI_T_deg_C_Max(7) | BSI_T_deg_C_Min(7)
| G | [5 empty] | CCHMC813 | South Bay Roof | Acpt | South Bay | BSI_T_deg_C_Avg(8) | BSI_T_deg_C_Avg(8) | BSI_T_deg_C_Max(8) | BSI_T_deg_C_Min(8)
| G | [5 empty] | CCHRHT810 | South Bay | Acpt | South Bay | BSI_RH_Avg(1) | BSI_RH_Avg(1) | BSI_RH_Max(1) | BSI_RH_Min(1)
| G | [5 empty] | CCHRHT811 | South Bay | Acpt | South Bay | BSI_RH_Avg(2) | BSI_RH_Avg(2) | BSI_RH_Max(2) | BSI_RH_Min(2)
| G | [5 empty] | CCHRHT812 | South Bay Roof | Acpt | South Bay | BSI_RH_Avg(3) | BSI_RH_Avg(3) | BSI_RH_Max(3) | BSI_RH_Min(3)
| G | [5 empty] | CCHRHT813 | South Bay Roof | Acpt | South Bay | BSI_RH_Avg(4) | BSI_RH_Avg(4) | BSI_RH_Max(4) | BSI_RH_Min(4)
| G | [5 empty] | CCHMCT704 | South Bay | Acpt | South Bay | BSI_MC_Avg(1) | BSI_MC_Avg(1) | BSI_MC_Max(1) | BSI_MC_Min(1)
| G | [5 empty] | CCHMCT705 | South Bay | Acpt | South Bay | BSI_MC_Avg(2) | BSI_MC_Avg(2) | BSI_MC_Max(2) | BSI_MC_Min(2)
| G | [5 empty] | CCHMCT706 | South Bay, window sill, bay offices | Acpt | South Bay | BSI_MC_Avg(3) | BSI_MC_Avg(3) | BSI_MC_Max(3) | BSI_MC_Min(3)
| G | [5 empty] | CCHMCT707 | South Bay, window sill, bay offices | Acpt | South Bay | BSI_MC_Avg(4) | BSI_MC_Avg(4) | BSI_MC_Max(4) | BSI_MC_Min(4)
| G | [5 empty] | CCHSM4 | South Bay, south of south Jpad, installed vertically, 82" below top of Jpd | Acpt | South Bay | CS616_SM_Avg(1) | CS616_SM_Avg(1) | CS616_SM_Max(1) | CS616_SM_Min(1)
| G | [5 empty] | CCHSM5 | South Bay, north of south Jpad, installed vertically, 89" below top of Jpd | Acpt | South Bay | CS616_SM_Avg(2) | CS616_SM_Avg(2) | CS616_SM_Max(2) | CS616_SM_Min(2)
| G | [5 empty] | CCHSM8 | South Bay, south of south Jpad, installed horizontally, 33" below top of Jpd | Acpt | South Bay | CS616_SM_Avg(3) | CS616_SM_Avg(3) | CS616_SM_Max(3) | CS616_SM_Min(3)
| G | [5 empty] | CCHSM9 | South Bay, north of south Jpad, installed horizontally, 33" below top of Jpd | Acpt | South Bay | CS616_SM_Avg(4) | CS616_SM_Avg(4) | CS616_SM_Max(4) | CS616_SM_Min(4)
| G | [6 empty] | CR1000 |  | South Bay | CR1000 SW12V
| G | [6 empty] | CR1000 |  | South Bay | CR1000 SW12V
| G | [6 empty] | CR1000 |  | South Bay | CR1000 SW12V
| G | [6 empty] | CR1000 |  | South Bay | CR1000 SW12V
| G | [6 empty] | South Bay |  | South Bay | CCHMCT704
| G | [6 empty] | South Bay |  | South Bay | CCHMCT705
| G | [6 empty] | South Bay, window sill, bay offices |  | South Bay | CCHMCT706
| G | [6 empty] | South Bay, window sill, bay offices |  | South Bay | CCHMCT707
| U | [5 empty] | CCHTH24 | Utilidor, middle jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Avg(1) | GWS_T_deg_C_Max(1) | GWS_T_deg_C_Min(1)
| U | [5 empty] | CCHTH24 | Utilidor, middle jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Avg(2) | GWS_T_deg_C_Max(2) | GWS_T_deg_C_Min(2)
| U | [5 empty] | CCHTH24 | Utilidor, middle jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Avg(3) | GWS_T_deg_C_Max(3) | GWS_T_deg_C_Min(3)
| U | [5 empty] | CCHTH25 | Utilidor, western jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Avg(4) | GWS_T_deg_C_Max(4) | GWS_T_deg_C_Min(4)
| U | [5 empty] | CCHTH25 | Utilidor, western jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Avg(5) | GWS_T_deg_C_Max(5) | GWS_T_deg_C_Min(5)
| U | [5 empty] | CCHTH25 | Utilidor, western jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Avg(6) | GWS_T_deg_C_Max(6) | GWS_T_deg_C_Min(6)
| U | [5 empty] | CCHTH26 | Utilidor, eastern jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Avg(7) | GWS_T_deg_C_Max(7) | GWS_T_deg_C_Min(7)
| U | [5 empty] | CCHTH26 | Utilidor, eastern jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Avg(8) | GWS_T_deg_C_Max(8) | GWS_T_deg_C_Min(8)
| U | [5 empty] | CCHTH26 | Utilidor, eastern jacking pad, installed below gravel fill | Error | Utilidor | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Avg(9) | GWS_T_deg_C_Max(9) | GWS_T_deg_C_Min(9)
| U | [5 empty] | CCHTH42 | Utilidor, Floor Test Section, 1 tape band, bottom of blue board | Error | Utilidor | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Avg(10) | GWS_T_deg_C_Max(10) | GWS_T_deg_C_Min(10)
| U | [5 empty] | CCHTH42 | Utilidor, Floor Test Section, 1 tape band, bottom of blue board | Error | Utilidor | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Avg(11) | GWS_T_deg_C_Max(11) | GWS_T_deg_C_Min(11)
| U | [5 empty] | CCHTH42 | Utilidor, Floor Test Section, 1 tape band, bottom of blue board | mDev | Utilidor | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Avg(12) | GWS_T_deg_C_Max(12) | GWS_T_deg_C_Min(12)
| U | [5 empty] | CCHTH43 | Utilidor, Floor Test Section, 2 tape bands, top of blue board | Error | Utilidor | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Avg(13) | GWS_T_deg_C_Max(13) | GWS_T_deg_C_Min(13)
| U | [5 empty] | CCHTH43 | Utilidor, Floor Test Section, 2 tape bands, top of blue board | Error | Utilidor | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Avg(14) | GWS_T_deg_C_Max(14) | GWS_T_deg_C_Min(14)
| U | [5 empty] | CCHTH43 | Utilidor, Floor Test Section, 2 tape bands, top of blue board | Error | Utilidor | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Avg(15) | GWS_T_deg_C_Max(15) | GWS_T_deg_C_Min(15)
| U | [5 empty] | CCHTH251 |  | Error | Utilidor | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Avg(16) | GWS_T_deg_C_Max(16) | GWS_T_deg_C_Min(16)
| U | [5 empty] | CCHTH251 |  | Error | Utilidor | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Avg(17) | GWS_T_deg_C_Max(17) | GWS_T_deg_C_Min(17)
| U | [5 empty] | CCHTH251 |  | Error | Utilidor | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Avg(18) | GWS_T_deg_C_Max(18) | GWS_T_deg_C_Min(18)
| U | [5 empty] | CCHTH304 | Utilidor, tank 1, pre-treatment input tank | Error | Utilidor | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Avg(19) | GWS_T_deg_C_Max(19) | GWS_T_deg_C_Min(19)
| U | [5 empty] | CCHTH304 | Utilidor, tank 1, pre-treatment input tank | mDev | Utilidor | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Avg(20) | GWS_T_deg_C_Max(20) | GWS_T_deg_C_Min(20)
| U | [5 empty] | CCHTH304 | Utilidor, tank 1, pre-treatment input tank | mDev | Utilidor | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Avg(21) | GWS_T_deg_C_Max(21) | GWS_T_deg_C_Min(21)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment | mDev | Utilidor | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Avg(22) | GWS_T_deg_C_Max(22) | GWS_T_deg_C_Min(22)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment | Error | Utilidor | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Avg(23) | GWS_T_deg_C_Max(23) | GWS_T_deg_C_Min(23)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment | Error | Utilidor | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Avg(24) | GWS_T_deg_C_Max(24) | GWS_T_deg_C_Min(24)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment, air pump inlet side | Error | Utilidor | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Avg(25) | GWS_T_deg_C_Max(25) | GWS_T_deg_C_Min(25)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment, air pump inlet side | Error | Utilidor | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Avg(26) | GWS_T_deg_C_Max(26) | GWS_T_deg_C_Min(26)
| U | [5 empty] | CCHTH??? | Utilidor, tank 2, aerobic treatment compartment, air pump inlet side | Error | Utilidor | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Avg(27) | GWS_T_deg_C_Max(27) | GWS_T_deg_C_Min(27)
| U | [5 empty] | CCHTH??? | Utilidor, air pump discharge into tank 2, aerobic treatment compartment | Error | Utilidor | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Avg(28) | GWS_T_deg_C_Max(28) | GWS_T_deg_C_Min(28)
| U | [5 empty] | CCHTH??? | Utilidor, air pump discharge into tank 2, aerobic treatment compartment | Error | Utilidor | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Avg(29) | GWS_T_deg_C_Max(29) | GWS_T_deg_C_Min(29)
| U | [5 empty] | CCHTH??? | Utilidor, air pump discharge into tank 2, aerobic treatment compartment | Error | Utilidor | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Avg(30) | GWS_T_deg_C_Max(30) | GWS_T_deg_C_Min(30)
| U | [5 empty] | CCHTH??? | Utilidor, tank 3, discharge control department | Error | Utilidor | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Avg(31) | GWS_T_deg_C_Max(31) | GWS_T_deg_C_Min(31)
| U | [5 empty] | CCHTH??? | Utilidor, tank 3, discharge control department | mDev | Utilidor | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Avg(32) | GWS_T_deg_C_Max(32) | GWS_T_deg_C_Min(32)
| U | [5 empty] | CCHTH??? | Utilidor, tank 3, discharge control department | Dev | Utilidor | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Avg(33) | GWS_T_deg_C_Max(33) | GWS_T_deg_C_Min(33)
| U | [5 empty] | CCHTH250 |  | Acpt | Utilidor | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Avg(34) | GWS_T_deg_C_Max(34) | GWS_T_deg_C_Min(34)
| U | [5 empty] | CCHTH250 |  | Acpt | Utilidor | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Avg(35) | GWS_T_deg_C_Max(35) | GWS_T_deg_C_Min(35)
| U | [5 empty] | CCHTH250 |  | Acpt | Utilidor | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Avg(36) | GWS_T_deg_C_Max(36) | GWS_T_deg_C_Min(36)
| U | [5 empty] | CCHSM24 | Utilidor, middle jacking pad, installed below gravel fill | Acpt | Utilidor | CS616_SM_Avg(1) | CS616_SM_Avg(1) | CS616_SM_Max(1) | CS616_SM_Min(1)
| U | [5 empty] | CCHSM25 | Utilidor, western jacking pad, installed below gravel fill | Acpt | Utilidor | CS616_SM_Avg(2) | CS616_SM_Avg(2) | CS616_SM_Max(2) | CS616_SM_Min(2)
| U | [5 empty] | CCHSM26 | Utilidor, eastern jacking pad, installed below gravel fill | Acpt | Utilidor | CS616_SM_Avg(3) | CS616_SM_Avg(3) | CS616_SM_Max(3) | CS616_SM_Min(3)
| U | [5 empty] | CS547A Temp/Cond Probe | Utilidor, tank 2, aerobic treatment compartment |  | Utilidor | CondT_C_Avg | CondT_C_Avg
| U | [5 empty] | CS547A Temp/Cond Probe | Utilidor, tank 2, aerobic treatment compartment |  | Utilidor | EC_Avg | EC_Avg

## Sleuthing
North Bay, Western Foundation Thermal Test Section | Photo Source:
http://cchrc-lm.gwscientific.com/Main/Foundation | http://cchrc-lm.gwscientific.com/Main/Foundation
http://cchrc-lm.gwscientific.com/uploads/Main/Foundation/CCHRC_RTF_North_Bay_West_Foundation07a.pdf
http://cchrc-lm.gwscientific.com/uploads/Main/Foundation/North%20Lab%20Floor%20Section%20West.3.pdf
cchth16
cchth17
cchth19
cchth20
cchth21
cchth22
cchth23
South Bay, South Foundation Thermal Test Section
http://cchrc-lm.gwscientific.com/Main/Foundation
http://cchrc-lm.gwscientific.com/uploads/Main/Foundation/South%20Lab%20Floor%20Section%20South.3.pdf
http://cchrc-lm.gwscientific.com/uploads/Main/Foundation/CCHRC_RTF_South_Bay_South_Foundation07a.pdf
ccth4
cchm4
ccth5
cchm5
ccth8
cchm8
ccth9
cchm9
ccth34
ccth35