## DataFileVariables
Data File Metadata | Field | File Name | File Extension | Number of Header Lines Total | Column # | Name / Title | Definition of Name / Title | Units | Storage Type | Location, building | Location, level | Location, details | Notes | Min Valid Value | Max Valid Value | Error Code | Precision (Decimal Places) | Calculation Notes
| Description | What is the exact name of the file(s) you are currently submitting? | What is the file extension type? Please select one of the following : .dat, .csv, or .xlsx | How many header lines are in the data file? | Which column of data are the following descriptions referring to? | What is the data field called? | Give a detailed description of the data field name. | Unit label for measurements. (cm, degC,%, etc.) | string (text variable), integer (whole number), float point (digits representing real number), date (temporal reference) | which building houses the sensor | what level or floor of the building is the sensor located | where excatly is the sensor using a fixed referece point, list the point, attach photos if possible | Note strange occurance or errors | Minimum expected value for this measurement. (Normal Range) | Maximum expected value for this measurement. (Normal Range) | Any error codes that may be present in the data | Please give the number of decimal places expressed in the data. | Information about calculations performed to derive this value.
| Necessity | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | REQUIRED | OPTIONAL | OPTIONAL | OPTIONAL | OPTIONAL | OPTIONAL | REQUIRED
|  | CCHRC_modbus_vent_daily | .dat | 6 | 1 | TIMESTAMP | Date measurement was taken | mm/dd/yyyy hh:mm | date | RTF | 1st floor | 1st floor | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 2 | RECORD | Number of recorded value in list of all recorded values in file | none | integer | RTF | 1st floor | 1st floor | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 3 | OAT_F | Temperature of outside air measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 4 | OAH_Pct | Humidity of outside air measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 5 | HRV1CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 6 | HRV1RMT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 7 | HRV1RMH_Pct | Humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 8 | HRV21CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 9 | HRV21RMT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 10 | HRV21RMH_pct | Humidity measured in percentage | Pct_H | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 11 | HRV22CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 12 | HRV22RMT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 13 | HRV22RMH_pct | Humidity measured in percentage | Pct_H | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 14 | HRV2SAT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 15 | HRV3SAT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 16 | HRV3CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 17 | HRV42RMT_F | Room temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 18 | HRV41RMH_pct | Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 19 | HRV4SAT_F | Room temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 20 | OACO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 21 | HRV5CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 22 | HRV5RMT_F | Room temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 23 | HRV5RMH_pct | Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 24 | HRV5SAT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 25 | HRV5RAT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 26 | HRV5MAD_pct | Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 27 | Stair05T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | Basement stair vestibule | Basement stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 28 | Elev07T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | Basement elevator lobby | Basement elevator lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 29 | Stair111T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Stair vestibule | 1st floor - Stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 30 | Elev112T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Elevatory Lobby | 1st floor - Elevatory Lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 31 | SLOffice116T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - South lab office | 1st floor - South lab office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 32 | BackDoor117T_F | Room temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - West exit door | 1st floor - West exit door | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 33 | Elev210T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Hallway next to reception | 2nd Floor - Hallway next to reception | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 34 | FrontMes211T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Reception common area | 2nd Floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 35 | Tech213T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom/office | 2nd floor - West classroom/office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 36 | RearMes215T_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West hallway | 2nd floor - West hallway | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 37 | MensRR217F_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Mens restroom | 2nd floor - Mens restroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 38 | OAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 39 | OAH_Pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 40 | HRV1CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 41 | HRV1RMT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 42 | HRV1RMH_Pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 43 | HRV21CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 44 | HRV21RMT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 45 | HRV21RMH_pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 46 | HRV22CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 47 | HRV22RMT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 48 | HRV22RMH_pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 49 | HRV2SAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 50 | HRV3SAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 51 | HRV3CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 52 | HRV42RMT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 53 | HRV41RMH_pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 54 | HRV4SAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 55 | OACO2_ppm_Avg |  | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 56 | HRV5CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 57 | HRV5RMT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 58 | HRV5RMH_pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 59 | HRV5SAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 60 | HRV5RAT_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 61 | HRV5MAD_pct_Avg | Average Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 62 | Stair05T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | Basement stair vestibule | Basement stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 63 | Elev07T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | Basement elevator lobby | Basement elevator lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 64 | Stair111T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Stair vestibule | 1st floor - Stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 65 | Elev112T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Elevatory Lobby | 1st floor - Elevatory Lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 66 | SLOffice116T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - South lab office | 1st floor - South lab office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 67 | BackDoor117T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - West exit door | 1st floor - West exit door | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 68 | Elev210T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Hallway next to reception | 2nd Floor - Hallway next to reception | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 69 | FrontMes211T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Reception common area | 2nd Floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 70 | Tech213T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom/office | 2nd floor - West classroom/office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 71 | RearMes215T_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West hallway | 2nd floor - West hallway | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 72 | MensRR217F_F_Avg | Average air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Mens restroom | 2nd floor - Mens restroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 73 | OAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 74 | OAH_Pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 75 | HRV1CO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 76 | HRV1RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 77 | HRV1RMH_Pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 78 | HRV21CO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 79 | HRV21RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 80 | HRV21RMH_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 81 | HRV22CO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 82 | HRV22RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 83 | HRV22RMH_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 84 | HRV2SAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 85 | HRV3SAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 86 | HRV3CO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 87 | HRV42RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 88 | HRV41RMH_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 89 | HRV4SAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 90 | OACO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 91 | HRV5CO2_ppm_Max | Maximum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 92 | HRV5RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 93 | HRV5RMH_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 94 | HRV5SAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 95 | HRV5RAT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 96 | HRV5MAD_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 97 | Stair05T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement stair vestibule | Basement stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 98 | Elev07T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement elevator lobby | Basement elevator lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 99 | Stair111T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Stair vestibule | 1st floor - Stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 100 | Elev112T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Elevatory Lobby | 1st floor - Elevatory Lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 101 | SLOffice116T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - South lab office | 1st floor - South lab office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 102 | BackDoor117T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - West exit door | 1st floor - West exit door | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 103 | Elev210T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Hallway next to reception | 2nd Floor - Hallway next to reception | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 104 | FrontMes211T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd Floor - Reception common area | 2nd Floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 105 | Tech213T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom/office | 2nd floor - West classroom/office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 106 | RearMes215T_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West hallway | 2nd floor - West hallway | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 107 | MensRR217F_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Mens restroom | 2nd floor - Mens restroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 108 | OAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 109 | OAH_Pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 110 | HRV1CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 111 | HRV1RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 112 | HRV1RMH_Pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | Basement | Basement | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 113 | HRV21CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 114 | HRV21RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 115 | HRV21RMH_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 1st floor - Library | 1st floor - Library | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 116 | HRV22CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 117 | HRV22RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 118 | HRV22RMH_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 119 | HRV2SAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - NE Classroom | 1st floor - NE Classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 120 | HRV3SAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 121 | HRV3CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 1st floor - Labs | 1st floor - Labs | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 122 | HRV42RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 123 | HRV41RMH_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 124 | HRV4SAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 125 | OACO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 126 | HRV5CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 127 | HRV5RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 128 | HRV5RMH_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 129 | HRV5SAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 130 | HRV5RAT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 131 | HRV5MAD_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - West classroom | 2nd floor - West classroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 132 | Stair05T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement stair vestibule | Basement stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 133 | Elev07T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | Basement elevator lobby | Basement elevator lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 134 | Stair111T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Stair vestibule | 1st floor - Stair vestibule | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 135 | Elev112T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - Elevatory Lobby | 1st floor - Elevatory Lobby | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 136 | SLOffice116T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - South lab office | 1st floor - South lab office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 137 | BackDoor117T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 1st floor - West exit door | 1st floor - West exit door | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 138 | Elev210T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Hallway next to reception | 2nd floor - Hallway next to reception | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 139 | FrontMes211T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 140 | Tech213T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West classroom/office | 2nd floor - West classroom/office | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 141 | RearMes215T_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - West hallway | 2nd floor - West hallway | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 142 | MensRR217F_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Mens restroom | 2nd floor - Mens restroom | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 143 | HRV41CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 144 | HRV41RMT_F | Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 145 | HRV42CO2_ppm | Concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 146 | HRV42RMH_pct | Humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 147 | HRV41CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 148 | HRV41RMT_F_Avg | Average Air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 149 | HRV42CO2_ppm_Avg | Average concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 150 | HRV42RMH_pct_Avg | Average humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 151 | HRV41CO2_ppm_Max | Maximum oncentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 152 | HRV41RMT_F_Max | Maximum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 153 | HRV42CO2_ppm_Max | Maximum oncentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 154 | HRV42RMH_pct_Max | Maximum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 155 | HRV41CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 156 | HRV41RMT_F_Min | Minimum air temperature measured in Fahrenheit | DegF | float point | RTF | 2nd floor - Reception common area | 2nd floor - Reception common area | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 157 | HRV42CO2_ppm_Min | Minimum concentration of CO2 in parts per million | CO2_ppm | integer | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | 158 | HRV42RMH_pct_Min | Minimum humidity measured in percentage | Pct_H | float point | RTF | 2nd floor - Board room | 2nd floor - Board room | N/A | N/A | N/A | N/A | N/A | N/A